## OV149
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV149	SW-20100801-OV12-001	1		5.33	5.71		5.68	5.76	1149
OV149	SW-20100801-OV12-002	2		5.23	5.97		6.04	5.81	1010
OV149	SW-20100801-OV12-007	5		3.38	3.88		4.2	3.91	400		OV149 / DO (mg/L) / Depth (m)
OV149	SW-20100801-OV12-010	7		5.48	7.2		7.56	7.34	50

## OV150
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV150	SW-20100801-OV12-013	1		4.57	4.9		5.03	4.94	750
OV150	SW-20100801-OV12-014	2		3.58	4.36		4.62	4.39	650
OV150	SW-20100801-OV12-015	3		3.42	3.93		4.29	3.97	500		OV150 / DO (mg/L) / Depth (m)
OV150	SW-20100801-OV12-016	4		3.39	4.13		4.65	4.19	300
OV150	SW-20100801-OV12-017	5		3.25	3.46		4.37	4.03	233
OV150	SW-20100801-OV12-018	6		3.81	4.89		5.3	4.97	128
OV150	SW-20100801-OV12-019	7		5.51	6.08		7.45	7.24	50
OV150	SW-20100801-OV12-020	8		4.83	5.32		6.75	6.44	3

											OV150 / DO (mg/L) / Depth (m)

## OV151
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV151	SW-20100801-OV12-021	1		5.22	5.73		5.77	5.77	1060
OV151	SW-20100801-OV12-022	2		4.91	5.63		5.89	5.68	1020
OV151	SW-20100801-OV12-023	3		3.52	4.22		4.56	4.2	600		OV151 / DO (mg/L) / Depth (m)
OV151	SW-20100801-OV12-024	4		3.53	3.38		4.28	3.92	351
OV151	SW-20100801-OV12-025	5		3.46	4.21		4.57	4.24	300
OV151	SW-20100801-OV12-026	6		3.91	4.83		5.24	4.89	150
OV151	SW-20100801-OV12-029	7		5.14	7.17		7.61	7.43	50
OV151	SW-20100801-OV12-031	8		4.29	6.35		6.95	6.51	3

											OV151 / DO (mg/L) / Depth (m)

## OV152
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV152	SW-20100801-OV12-032	1		6.12	5.87		6.78	6.5	1350
OV152	SW-20100801-OV12-033	2		5.73	6.06		6.76	6.51	1300
OV152	SW-20100801-OV12-034	3		5.84	6.46		6.99	6.49	1250		OV152 / DO (mg/L) / Depth (m)
OV152	SW-20100801-OV12-035	4		5.59	6.26		6.71	5.92	1192
OV152	SW-20100801-OV12-036	5		5.38	6.1		6.31	5.83	1165
OV152	SW-20100801-OV12-037	6		5.73	7.45		7.73	3.98	400
OV152	SW-20100801-OV12-038	7		6.03	6.8		7.64	7.29	50
OV152	SW-20100801-OV12-039	8		4.38	4.66		6.89	6.45	3

											OV152 / DO (mg/L) / Depth (m)

## OV153
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV153	SW-20100802-OV12-001	1		6.25	6.79		6.61	6.78	1450
OV153	SW-20100802-OV12-004	2		5.86	5.72		6.67	6.39	1300
OV153	SW-20100802-OV12-005	3		5.44	5.87		6.3	5.69	1206		OV153 / DO (mg/L) / Depth (m)
OV153	SW-20100802-OV12-012	4			5.83			5.72	1157
OV153	SW-20100802-OV12-007	5		4.61	5.36		5.89	5.75	1050
OV153	SW-20100802-OV12-009	6			3.81			3.78	400
OV153	SW-20100802-OV12-010	7		5.35	6.87		7.4	7.17	50
OV153	SW-20100802-OV12-011	8		4.58	6.35		6.89	6.49	3

											OV153 / DO (mg/L) / Depth (m)

## OV154
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV154	SW-20100802-OV12-013	1		5.63	6.07		7.02	6.63	1350
OV154	SW-20100802-OV12-014	2		5.64	6.31		6.82	6.29	1272
OV154	SW-20100802-OV12-015	3		5.15	5.67		6.38	5.92	1205		OV154 / DO (mg/L) / Depth (m)
OV154	SW-20100802-OV12-016	4		5.34	5.84		6.42	5.59	1169
OV154	SW-20100802-OV12-018	6		3.15	3.8		4.26	3.84	400
OV154	SW-20100802-OV12-019	7		5.26	6.73		7.34	7.11	50
OV154	SW-20100802-OV12-020	8		4.22	6.32		6.86	6.48	3

											OV154 / DO (mg/L) / Depth (m)

## OV155
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV155	SW-20100802-OV12-021	1		5.05	5.87		6.08	5.91	1060
OV155	SW-20100802-OV12-022	2		5.18	5.83		6.22	5.84	1020
											OV155 / DO (mg/L) / Depth (m)

											OV155 / DO (mg/L) / Depth (m)

## OV156
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV156	SW-20100802-OV12-032	1			6.69		6.26	6.75	1340
OV156	SW-20100802-OV12-033	2			6.54		6.66	6.56	1250
OV156	SW-20100802-OV12-034	3			6.35		6.7	6.41	1200		OV156 / DO (mg/L) / Depth (m)
OV156	SW-20100802-OV12-035	4			5.33		5.76	6.16	1150
OV156	SW-20100802-OV12-036	5			5.84		6.33	4.73	1131
OV156	SW-20100802-OV12-039	6			4.55		5.01	4.63	1124
OV156	SW-20100802-OV12-040	7			5.13		5.52	5.1	1100
OV156	SW-20100802-OV12-041	8			5.36		5.84	5.38	1085
OV156	SW-20100802-OV12-042	9			5.81		6.29	5.83	1025

											OV156 / DO (mg/L) / Depth (m)

## OV157
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
OV157	SW-20100802-OV12-048	3			6.79		7.36	6.83	1500
OV157	SW-20100802-OV12-049	4			6.87		7.25	6.77	1400
OV157	SW-20100802-OV12-050	5			6.62		7.17	6.66	1300		OV157 / DO (mg/L) / Depth (m)
OV157	SW-20100802-OV12-051	6			6.09		6.65	6.43	1200
OV157	SW-20100802-OV12-052	7			5.61		6.18	5.46	1132
OV157	SW-20100802-OV12-053	8			5.86		6.42	5.86	1069

											OV157 / DO (mg/L) / Depth (m)

## BM141
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM141	SW-20100729-BM15-7	7		5.65		5.39	6.63	6.34	2
BM141	SW-20100729-BM15-5	5		5.82		4.00	6.90	3.91	500
BM141	SW-20100729-BM15-3	3		6.02		5.39	7.09	6.25	1150	BM141 / DO (mg/L) / Depth (m)
BM141	SW-20100729-BM15-2	2		6.11		5.95	7.10	6.42	1200
BM141	SW-20100729-BM15-1	1		6.05		6.24	7.40	6.74	1500

## BM142
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth	BM142 / DO (mg/L) / Depth (m)
BM142	SW-20100729-BM15-13	6		4.70		4.93	6.25	4.79	250
BM142	SW-20100729-BM15-12	5		3.95		4.17	5.35	3.85	500
BM142	SW-20100729-BM15-10	3		5.62		6.12	6.95	6.32	1150
BM142	SW-20100729-BM15-9	2		5.80		6.10	6.98	6.44	1200
BM142	SW-20100729-BM15-8	1		6.00		6.25	7.17	6.9	1500

## BM143
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM143	SW-20100729-BM15-21	6		4.45		4.22	5.38	4.29	250		BM143 / DO (mg/L) / Depth (m)
BM143	SW-20100729-BM15-20	5		4.05		3.95	5.01	3.84	500
BM143	SW-20100729-BM15-18	3		5.88		5.97	6.95	6.31	1150
BM143	SW-20100729-BM15-17	2		5.86		6.00	7.04	6.41	1200
BM143	SW-20100729-BM15-16	1		6.07		6.06	7.25	6.77	1500

## BM144
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM144	SW-20100729-BM15-29	6		4.68		4.81	5.85	4.72	250	BM144 / DO (mg/L) / Depth (m)
BM144	SW-20100729-BM15-28	5		5.50		4.00	6.75	3.95	500
BM144	SW-20100729-BM15-26	3		5.80		6.06	7.01	6.28	1150
BM144	SW-20100729-BM15-25	2		5.95		6.20	7.06	6.34	1200
BM144	SW-20100729-BM15-24	1		6.20		6.42	7.20	6.71	1500

## BM145
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM145	SW-20100730-BM15-6	6		5.74		4.20	5.65	4.53	250
BM145	SW-20100730-BM15-5	5		5.18		3.56	5.27	3.92	500
BM145	SW-20100730-BM15-3	3		7.12		5.98	7.10	6.29	1150		BM145 / DO (mg/L) / Depth (m)
BM145	SW-20100730-BM15-2	2		7.03		6.08	7.12	6.41	1200
BM145	SW-20100730-BM15-1	1		7.67		6.20	7.42	6.88	1500

## BM146
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM146	SW-20100730-BM15-14	6		5.37		4.24	5.48	4.77	250
BM146	SW-20100730-BM15-13	5		4.9		3.85	4.92	3.88	500
BM146	SW-20100730-BM15-11	3		7.12		5.68	6.94	6.33	1150		BM146 / DO (mg/L) / Depth (m)
BM146	SW-20100730-BM15-10	2		7.23		6.03	7.01	6.47	1200
BM146	SW-20100730-BM15-9	1		7.5		6.05	7.2	6.81	1500

## BM147
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM147	SW-20100730-BM15-24	6		5.62		4.51	5.58	4.62	250
BM147	SW-20100730-BM15-23	5				5.60		5.92	1050
BM147	SW-20100730-BM15-21	3		6.41		5.71	6.8	6.11	1150		BM147 / DO (mg/L) / Depth (m)
BM147	SW-20100730-BM15-20	2		6.65		6.35	7.1	6.29	1200
BM147	SW-20100730-BM15-19	1		6.6		6.08	7.2	6.62	1500

## BM148
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM148	SW-20100730-BM15-33	6		5.14		4.08	5.58	4.63	250
BM148	SW-20100730-BM15-32	5		4.85		3.67	5.33	3.89	500
BM148	SW-20100730-BM15-30	3		6.35		6.00	6.98	6.31	1150		BM148 / DO (mg/L) / Depth (m)
BM148	SW-20100730-BM15-29	2		6.58		5.95	7.15	6.43	1200
BM148	SW-20100730-BM15-28	1		6.79		6.00	7.28	6.56	1500

## BM149
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM149	SW-20100731-BM15-6	9		5.65		4.55	5.84	4.69	250
BM149	SW-20100731-BM15-4	7		6.17		5.38	6.47	5.82	1050
BM149	SW-20100731-BM15-3	5		6.26		5.13	6.45	5.59	1150		BM149 / DO (mg/L) / Depth (m)
BM149	SW-20100731-BM15-2	3		6.38		5.52	6.52	5.65	1190
BM149	SW-20100731-BM15-1	1		6.75		5.54	6.92	6.22	1300

## BM154
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM154	SW-20100804BM16-1	2		6.28	6.03	6.3	6.33	5.97	1268
BM154	SW-20100804BM16-2	4		5.52	5.116	5.38	5.53	4.97	1215
BM154	SW-20100804BM16-3	6		6.39	5.893	6.28	6.25	5.84	1195		BM154 / DO (mg/L) / Depth (m)
BM154	SW-20100804BM16-4	8		6.54	6.041	6.39	6.36	6.03	1174
BM154	SW-20100804BM16-5	10		4.66	4.163	4.27	4.56	3.93	500

											BM154 / DO (mg/L) / Depth (m)

## BM150
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM150	SW-20100731-BM15-13	7		6.67		5.34	6.6	5.74	1050
BM150	SW-20100731-BM15-12	5		6.18		5.27	6.52	5.45	1100
BM150	SW-20100731-BM15-11	4		7.11		6.19	7.14	6.27	1200		BM150 / DO (mg/L) / Depth (m)
BM150	SW-20100731-BM15-10	3		6.74		5.05	6.71	5.71	1245
BM150	SW-20100731-BM15-9	1		7.11		5.99	7.09	6.61	1450

## BM151
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM151	SW-20100731-BM15-23	9		5.03		4.29	5.48	4.53	250
BM151	SW-20100731-BM15-22	8		5.04		3.83	5.12	3.97	500
BM151	SW-20100731-BM15-20	5		6.2		5.69	6.4	5.7	1125		BM151 / DO (mg/L) / Depth (m)
BM151	SW-20100731-BM15-19	3		6.41		5.5	6.48	5.73	1150
BM151	SW-20100731-BM15-18	1		6.7		5.87	6.83	5.97	1195

## BM152
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM152	SW-20100731-BM15-33	10		4.6		4.27	5.1	4.45	250
BM152	SW-20100731-BM15-30	8		5.01		3.89	5.49	3.88	500
BM152	SW-20100731-BM15-29	6		5.3		4.66	5.99	4.8	750		BM152 / DO (mg/L) / Depth (m)
BM152	SW-20100731-BM15-28	4		6.15		5.05	6.59	5.54	950
BM152	SW-20100731-BM15-27	2		6.7		5.66	6.87	5.84	1050

## BM153
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM153	SW-20100731-BM15-42	6		4.43		4.04	5.24	4.17	250
BM153	SW-20100731-BM15-41	5		4.64		4.05	5.02	3.88	500
BM153	SW-20100731-BM15-40	4		5.18		4.4	5.71	4.76	750		BM153 / DO (mg/L) / Depth (m)
BM153	SW-20100731-BM15-39	3		5.96		6.05	6.7	6.06	1050
BM153	SW-20100731-BM15-38	2		5.91		5.73	6.94	6.38	1150

## BM155
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM155	SW-20100804BM16-9	2		5.62	6.322	6.04	6.67	6.34	1274
BM155	SW-20100804BM16-10	4		5.49	4.096	5.92	5.99	5.51	1212
BM155	SW-20100804BM16-11	6		5.16	4.427	4.91	5.65	5.27	1201		BM155 / DO (mg/L) / Depth (m)
BM155	SW-20100804BM16-12	8		5.71	4.737	5.89	6.24	5.93	1174
BM155	SW-20100804BM16-13	10		4.15	3.841	3.81	4.5	3.92	500

											BM155 / DO (mg/L) / Depth (m)

## BM156
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM156	SW-20100804BM16-17	2		5.56	6.429	6.08	6.57	6.34	1274
BM156	SW-20100804BM16-18	4		5.33	5.231	6.16	6.56	6.24	1219
BM156	SW-20100804BM16-19	6		5.52	4.54	5.62	6.41	6.11	1214		BM156 / DO (mg/L) / Depth (m)
BM156	SW-20100804BM16-20	8		4.81	4.954	5.04	5.5	4.97	1178
BM156	SW-20100804BM16-21	10		4.01	3.723	3.87	4.76	3.92	500

											BM156 / DO (mg/L) / Depth (m)

## BM157
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM157	SW-20100804BM16-24	2		5.8	6.485	6.24	6.88	6.7	1449
BM157	SW-20100804BM16-25	4		5.23	4.876	5.54	6.47	6.07	1219
BM157	SW-20100804BM16-26	6		5.52	5.327	5.64	6.29	5.83	1194		BM157 / DO (mg/L) / Depth (m)
BM157	SW-20100804BM16-27	8		5.33	5.819	5.75	6.05	5.72	1159
BM157	SW-20100804BM16-28	10		4.25	3.781	3.92	4.75	3.94	500

											BM157 / DO (mg/L) / Depth (m)

## BM158
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM158	SW-20100805BM16-1	2		6.06		6.99	7.16	6.92	1684
BM158	SW-20100805BM16-2	4		5.22	5.556	6.03	6.54	5.92	1249
BM158	SW-20100805BM16-3	6		5.15	5.716	5.58	6.13	5.62	1199		BM158 / DO (mg/L) / Depth (m)
BM158	SW-20100805BM16-4	8		5.23	5.341	5.66	6.08	5.67	1149
BM158	SW-20100805BM16-5	10		3.78	3.738	3.89	4.79	3.92	500

											BM158 / DO (mg/L) / Depth (m)

## BM159
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM159	SW-20100805BM16-9	2		5.89	5.372	6.25	6.89	6.7	1402
BM159	SW-20100805BM16-10	4		5.34	5.354	5.75	6.22	5.67	1222
BM159	SW-20100805BM16-11	6		5.1	4.288	5.12	6.04	5.59	1181		BM159 / DO (mg/L) / Depth (m)
BM159	SW-20100805BM16-12	8		4.93	5.679	5.44	5.97	5.76	1153
BM159	SW-20100805BM16-13	10		3.86	3.704	3.85	4.68	3.93	500

											BM159 / DO (mg/L) / Depth (m)

## BM160
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM160	SW-20100805BM16-16	2		6.16	6.122	6.61	6.86	6.75	1449
BM160	SW-20100805BM16-17	4		5.36	4.924	5.4	6.21	5.91	1184
BM160	SW-20100805BM16-18	6		5.25	4.942	5.29	6.1	5.72	1147		BM160 / DO (mg/L) / Depth (m)
BM160	SW-20100805BM16-19	8		4.96	4.932	4.82	5.45	4.88	749
BM160	SW-20100805BM16-20	10		3.83	4.586	3.92	4.73	3.95	500

## BM161
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM161	SW-20100805BM16-23	2		5.78	5.38	6.34	6.96	6.77	1449
BM161	SW-20100805BM16-24	4		5.43	4.854	6.01	6.58	6.2	1275
BM161	SW-20100805BM16-25	6		5.58	4.833	5.61	5.91	5.79	1140		BM161 / DO (mg/L) / Depth (m)
BM161	SW-20100805BM16-26	8		4.53	4.34	4.59	5.33	4.83	749
BM161	SW-20100805BM16-27	10		3.83	2.858	3.84	4.63	3.94	500

## BM162
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM162	SW-20100806BM16-2	2		5.02	5.336	5.35	5.66	5.42	949
BM162	SW-20100806BM16-3	3		4.77		4.85	5.49	5.29	899
BM162	SW-20100806BM16-4	4		4.3	4.881	4.97	5.31	5.07	850		BM162 / DO (mg/L) / Depth (m)
BM162	SW-20100806BM16-5	5		4.32	4.35	4.6	5.11	4.86	800
BM162	SW-20100806BM16-6	6		4.25	4.557	4.47	4.98	4.75	750
BM162	SW-20100806BM16-7	7		4.45	4.65	4.56	4.92	4.68	700
BM162	SW-20100806BM16-8	8		4.1	4.142	4.13	4.61	4.34	649
BM162	SW-20100806BM16-9	9		3.65	3.9	4.02	4.43	4.14	599
BM162	SW-20100806BM16-10	10		3.86	3.949	3.89	4.24	3.96	550
BM162	SW-20100806BM16-11	11		3.48	3.619	3.79	4.19	3.86	500

											BM162 / DO (mg/L) / Depth (m)

## BM167
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM167	SW-20100806BM16-1	1		5.22	5.28	5.82	6.13	5.84	1079
BM167	SW-20100806BM16-9	9		3.86	3.58	3.77	4.79	3.88	500
											BM167 / DO (mg/L) / Depth (m)

											BM167 / DO (mg/L) / Depth (m)

## BM169
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM169	SW-20100810BM17-1	1		7.07	6.69	6.57	6.76	6.69	1299
BM169	SW-20100810BM17-2	2		6.46	6.15	6.03	6.64	6.38	1199
BM169	SW-20100810BM17-3	3		6.53	5.92	6.31	6.51	6.35	1149		BM169 / DO (mg/L) / Depth (m)
BM169	SW-20100810BM17-4	4		6.46	6.04	5.92	6.47	6.22	1139
BM169	SW-20100810BM17-5	5		5.82	6.06	5.93	6.28	6.01	1127
BM169	SW-20100810BM17-6	6		5.18	5.72	5.61	6.04	5.74	1120
BM169	SW-20100810BM17-7	7		5.75	5.52	5.51	6.04	5.74	1109
BM169	SW-20100810BM17-8	8		5.3	5.60	5.66	6.01	5.71	1099
BM169	SW-20100810BM17-9	9		5.8	5.82	5.77	6.08	5.8	1089
BM169	SW-20100810BM17-10	10		6.07	5.60	5.6	6.12	5.86	1079
BM169	SW-20100810BM17-11	11		5.78	6.33	5.99	6.17	6.01	1069

					0.83	0.93

											BM169 / DO (mg/L) / Depth (m)

## BM170
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM170	SW-20100810BM17-13	1		6.51	6.71	6.36	7.13	6.98	1798
BM170	SW-20100810BM17-14	2		6.31	6.96	6.41	7.1	6.96	1599
BM170	SW-20100810BM17-15	3		6.45	6.68	6.45	6.79	6.88	1399		BM170 / DO (mg/L) / Depth (m)
BM170	SW-20100810BM17-16	4		6.46	6.74	6.53	6.78	6.62	1199
BM170	SW-20100810BM17-17	5		5.82	6.05	5.73	6.43	6.19	1024
BM170	SW-20100810BM17-18	6		5.6	6.11	5.6	6.29	6.1	999
BM170	SW-20100810BM17-19	7		5.4	5.15	5.05	5.54	5.27	799
BM170	SW-20100810BM17-20	8		4.3	4.44	4.22	4.71	4.39	600
BM170	SW-20100810BM17-21	9		3.98	4.00	3.87	4.35	3.98	400
BM170	SW-20100810BM17-22	10		4.19	3.93	4.21	4.78	4.51	200
BM170	SW-20100810BM17-23	11		6.15	5.30	6.19	6.41	6.38	2

					0.95	0.99

## BM171
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM171	SW-20100810BM17-25	1		6.32	6.30	6.79	7.17	7	1689
BM171	SW-20100810BM17-26	2		6.05	6.42	6.9	7.08	6.98	1599
BM171	SW-20100810BM17-27	3		6.62	6.41	6.79	7.1	6.89	1399		BM171 / DO (mg/L) / Depth (m)
BM171	SW-20100810BM17-28	4		6.13	5.35	5.67	6.52	6.68	1199
BM171	SW-20100810BM17-29	5		6.01	5.73	5.62	6.27	6.08	1000
BM171	SW-20100810BM17-30	6		5.25	5.08	5.32	5.61	5.34	800
BM171	SW-20100810BM17-31	7		4.25	4.28	4.19	4.75	4.39	600
BM171	SW-20100810BM17-32	8		4.42	3.94	3.74	4.31	3.94	400
BM171	SW-20100810BM17-33	9		4.15	4.02	4.24	4.76	4.48	200
BM171	SW-20100810BM17-34	10		5.65	5.54	5.51	6.52	6.41	2

					0.96	0.96

## BM172
StationID	SampleID	BottleNumber	DO_LaMotte	Membrane	Winkler	Hach	Optical	Seabird	Depth
BM172	SW-20100811BM17-1	1			6.11	6.18	6.78	6.63	1343	0.45
BM172	SW-20100811BM17-2	2			5.68	6.05	6.54	6.36	1199	0.31
BM172	SW-20100811BM17-3	3			5.59	6.06	6.32	6	1189	-0.06	BM172 / DO (mg/L) / Depth (m)
BM172	SW-20100811BM17-4	4			5.04	5.63	6.16	5.84	1179	0.21
BM172	SW-20100811BM17-5	5			5.00	6	6.19	6.02	1169	0.02
BM172	SW-20100811BM17-6	6			4.81	5.67	6.06	5.88	1159	0.21
BM172	SW-20100811BM17-7	7			4.46	5.58	5.98	5.79	1149	0.21
BM172	SW-20100811BM17-8	8			4.87	5.79	5.97	5.73	1139	-0.06
BM172	SW-20100811BM17-9	9			4.66	5.36	5.91	5.71	1129	0.35
BM172	SW-20100811BM17-10	10			4.82	5.37	5.91	5.73	1119	0.36
BM172	SW-20100811BM17-11	11			4.79	5.81	5.93	5.75	1110	-0.06

					0.91	0.79

											BM172 / DO (mg/L) / Depth (m)

## BM_DATA
StationID	SampleID	Niskin Bottle#	DO_Membrane	DO_Winkler	DO_Hach	DO_Optical	DO_Seabird	Depth
			(mg/L)	(mg/L)	(mg/L)	(mg/L)	(mg/L)	Depth [m]
BM141	SW-20100729-BM15-7	7	5.65		5.39	6.63	6.34	2
BM141	SW-20100729-BM15-5	5	5.82		4.00	6.90	3.91	500
BM141	SW-20100729-BM15-3	3	6.02		5.39	7.09	6.25	1150
BM141	SW-20100729-BM15-2	2	6.11		5.95	7.10	6.42	1200
BM141	SW-20100729-BM15-1	1	6.05		6.24	7.40	6.74	1500
BM142	SW-20100729-BM15-13	6	4.70		4.93	6.25	4.79	250
BM142	SW-20100729-BM15-12	5	3.95		4.17	5.35	3.85	500
BM142	SW-20100729-BM15-10	3	5.62		6.12	6.95	6.32	1150
BM142	SW-20100729-BM15-9	2	5.80		6.10	6.98	6.44	1200
BM142	SW-20100729-BM15-8	1	6.00		6.25	7.17	6.9	1500
BM143	SW-20100729-BM15-21	6	4.45		4.22	5.38	4.29	250
BM143	SW-20100729-BM15-20	5	4.05		3.95	5.01	3.84	500
BM143	SW-20100729-BM15-18	3	5.88		5.97	6.95	6.31	1150
BM143	SW-20100729-BM15-17	2	5.86		6.00	7.04	6.41	1200
BM143	SW-20100729-BM15-16	1	6.07		6.06	7.25	6.77	1500
BM144	SW-20100729-BM15-29	6	4.68		4.81	5.85	4.72	250
BM144	SW-20100729-BM15-28	5	5.50		4.00	6.75	3.95	500
BM144	SW-20100729-BM15-26	3	5.80		6.06	7.01	6.28	1150
BM144	SW-20100729-BM15-25	2	5.95		6.20	7.06	6.34	1200
BM144	SW-20100729-BM15-24	1	6.20		6.42	7.20	6.71	1500
BM145	SW-20100730-BM15-6	6	5.74		4.20	5.65	4.53	250
BM145	SW-20100730-BM15-5	5	5.18		3.56	5.27	3.92	500
BM145	SW-20100730-BM15-3	3	7.12		5.98	7.10	6.29	1150
BM145	SW-20100730-BM15-2	2	7.03		6.08	7.12	6.41	1200
BM145	SW-20100730-BM15-1	1	7.67		6.20	7.42	6.88	1500
BM146	SW-20100730-BM15-14	6	5.37		4.24	5.48	4.77	250
BM146	SW-20100730-BM15-13	5	4.9		3.85	4.92	3.88	500
BM146	SW-20100730-BM15-11	3	7.12		5.68	6.94	6.33	1150
BM146	SW-20100730-BM15-10	2	7.23		6.03	7.01	6.47	1200
BM146	SW-20100730-BM15-9	1	7.5		6.05	7.2	6.81	1500
BM147	SW-20100730-BM15-24	6	5.62		4.51	5.58	4.62	250
BM147	SW-20100730-BM15-23	5			5.60		5.92	1050
BM147	SW-20100730-BM15-21	3	6.41		5.71	6.8	6.11	1150
BM147	SW-20100730-BM15-20	2	6.65		6.35	7.1	6.29	1200
BM147	SW-20100730-BM15-19	1	6.6		6.08	7.2	6.62	1500
BM148	SW-20100730-BM15-33	6	5.14		4.08	5.58	4.63	250
BM148	SW-20100730-BM15-32	5	4.85		3.67	5.33	3.89	500
BM148	SW-20100730-BM15-30	3	6.35		6.00	6.98	6.31	1150
BM148	SW-20100730-BM15-29	2	6.58		5.95	7.15	6.43	1200
BM148	SW-20100730-BM15-28	1	6.79		6.00	7.28	6.56	1500
BM149	SW-20100731-BM15-6	9	5.65		4.55	5.84	4.69	250
BM149	SW-20100731-BM15-4	7	6.17		5.38	6.47	5.82	1050
BM149	SW-20100731-BM15-3	5	6.26		5.13	6.45	5.59	1150
BM149	SW-20100731-BM15-2	3	6.38		5.52	6.52	5.65	1190
BM149	SW-20100731-BM15-1	1	6.75		5.54	6.92	6.22	1300
BM150	SW-20100731-BM15-13	7	6.67		5.34	6.6	5.74	1050
BM150	SW-20100731-BM15-12	5	6.18		5.27	6.52	5.45	1100
BM150	SW-20100731-BM15-11	4	7.11		6.19	7.14	6.27	1200
BM150	SW-20100731-BM15-10	3	6.74		5.05	6.71	5.71	1245
BM150	SW-20100731-BM15-9	1	7.11		5.99	7.09	6.61	1450
BM151	SW-20100731-BM15-23	9	5.03		4.29	5.48	4.53	250
BM151	SW-20100731-BM15-22	8	5.04		3.83	5.12	3.97	500
BM151	SW-20100731-BM15-20	5	6.2		5.69	6.4	5.7	1125
BM151	SW-20100731-BM15-19	3	6.41		5.5	6.48	5.73	1150
BM151	SW-20100731-BM15-18	1	6.7		5.87	6.83	5.97	1195
BM152	SW-20100731-BM15-33	10	4.6		4.27	5.1	4.45	250
BM152	SW-20100731-BM15-30	8	5.01		3.89	5.49	3.88	500
BM152	SW-20100731-BM15-29	6	5.3		4.66	5.99	4.8	750
BM152	SW-20100731-BM15-28	4	6.15		5.05	6.59	5.54	950
BM152	SW-20100731-BM15-27	2	6.7		5.66	6.87	5.84	1050					Optical probe values recorded in situ in the Niskins on deck and then in the lab (as usually measured) to provide an indication of differences caused by drawing off the samples and transporting them across the deck
BM153	SW-20100731-BM15-42	6	4.43		4.04	5.24	4.17	250					LAB	Niskin
BM153	SW-20100731-BM15-41	5	4.64		4.05	5.02	3.88	500					BM161 optical lab	BM161 optical
BM153	SW-20100731-BM15-40	4	5.18		4.4	5.71	4.76	750					DO	6.96	6.72	-0.24
BM153	SW-20100731-BM15-39	3	5.96		6.05	6.7	6.06	1050					6.58	6.12	-0.46
BM153	SW-20100731-BM15-38	2	5.91		5.73	6.94	6.38	1150					5.91	5.85	-0.06
BM154	SW-20100804BM16-1	2	6.28	6.03	6.3	6.33	5.97	1268					5.33	5.2	-0.13
BM154	SW-20100804BM16-2	4	5.52	5.116	5.38	5.53	4.97	1215					4.63	4.48	-0.15
BM154	SW-20100804BM16-3	6	6.39	5.893	6.28	6.25	5.84	1195					-0.208	Lower DO in Niskin
BM154	SW-20100804BM16-4	8	6.54	6.041	6.39	6.36	6.03	1174
BM154	SW-20100804BM16-5	10	4.66	4.163	4.27	4.56	3.93	500					Temp oC	12.2	12.5	0.3
BM155	SW-20100804BM16-9	2	5.62	6.322	6.04	6.67	6.34	1274					12.5	12.9	0.4
BM155	SW-20100804BM16-10	4	5.49	4.096	5.92	5.99	5.51	1212					12.2	13.4	1.2
BM155	SW-20100804BM16-11	6	5.16	4.427	4.91	5.65	5.27	1201					12.8	13.6	0.8
BM155	SW-20100804BM16-12	8	5.71	4.737	5.89	6.24	5.93	1174					14.1	14.1	0
BM155	SW-20100804BM16-13	10	4.15	3.841	3.81	4.5	3.92	500					0.54	Warmer temp in Niskin
BM156	SW-20100804BM16-17	2	5.56	6.429	6.08	6.57	6.34	1274
BM156	SW-20100804BM16-18	4	5.33	5.231	6.16	6.56	6.24	1219
BM156	SW-20100804BM16-19	6	5.52	4.54	5.62	6.41	6.11	1214
BM156	SW-20100804BM16-20	8	4.81	4.954	5.04	5.5	4.97	1178
BM156	SW-20100804BM16-21	10	4.01	3.723	3.87	4.76	3.92	500
BM157	SW-20100804BM16-24	2	5.8	6.485	6.24	6.88	6.7	1449
BM157	SW-20100804BM16-25	4	5.23	4.876	5.54	6.47	6.07	1219
BM157	SW-20100804BM16-26	6	5.52	5.327	5.64	6.29	5.83	1194
BM157	SW-20100804BM16-27	8	5.33	5.819	5.75	6.05	5.72	1159
BM157	SW-20100804BM16-28	10	4.25	3.781	3.92	4.75	3.94	500
BM158	SW-20100805BM16-2	4	5.22	5.556	6.03	6.54	5.92	1249
BM158	SW-20100805BM16-3	6	5.15	5.716	5.58	6.13	5.62	1199
BM158	SW-20100805BM16-4	8	5.23	5.341	5.66	6.08	5.67	1149
BM158	SW-20100805BM16-5	10	3.78	3.738	3.89	4.79	3.92	500
BM159	SW-20100805BM16-9	2	5.89	5.372	6.25	6.89	6.7	1402
BM159	SW-20100805BM16-10	4	5.34	5.354	5.75	6.22	5.67	1222
BM159	SW-20100805BM16-11	6	5.1	4.288	5.12	6.04	5.59	1181
BM159	SW-20100805BM16-12	8	4.93	5.679	5.44	5.97	5.76	1153
BM159	SW-20100805BM16-13	10	3.86	3.704	3.85	4.68	3.93	500
BM160	SW-20100805BM16-16	2	6.16	6.122	6.61	6.86	6.75	1449
BM160	SW-20100805BM16-17	4	5.36	4.924	5.4	6.21	5.91	1184
BM160	SW-20100805BM16-18	6	5.25	4.942	5.29	6.1	5.72	1147
BM160	SW-20100805BM16-19	8	4.96	4.932	4.82	5.45	4.88	749
BM160	SW-20100805BM16-20	10	3.83	4.586	3.92	4.73	3.95	500
BM161	SW-20100805BM16-23	2	5.78	5.38	6.34	6.96	6.77	1449
BM161	SW-20100805BM16-24	4	5.43	4.854	6.01	6.58	6.2	1275
BM161	SW-20100805BM16-25	6	5.58	4.833	5.61	5.91	5.79	1140
BM161	SW-20100805BM16-26	8	4.53	4.34	4.59	5.33	4.83	749
BM161	SW-20100805BM16-27	10	3.83	2.858	3.84	4.63	3.94	500
BM162	SW-20100806BM16-2	2	5.02	5.336	5.35	5.66	5.42	949
BM162	SW-20100806BM16-4	4	4.3	4.881	4.97	5.31	5.07	850
BM162	SW-20100806BM16-5	5	4.32	4.35	4.6	5.11	4.86	800
BM162	SW-20100806BM16-6	6	4.25	4.557	4.47	4.98	4.75	750
BM162	SW-20100806BM16-7	7	4.45	4.65	4.56	4.92	4.68	700
BM162	SW-20100806BM16-8	8	4.1	4.142	4.13	4.61	4.34	649
BM162	SW-20100806BM16-9	9	3.65	3.9	4.02	4.43	4.14	599
BM162	SW-20100806BM16-10	10	3.86	3.949	3.89	4.24	3.96	550
BM162	SW-20100806BM16-11	11	3.48	3.619	3.79	4.19	3.86	500
BM167	SW-20100806BM16-1	1	5.22	5.28	5.82	6.13	5.84	1079
BM167	SW-20100806BM16-9	9	3.86	3.58	3.77	4.79	3.88	500
BM169	SW-20100810BM17-1	1	7.07	6.69	6.57	6.76	6.69	1299
BM169	SW-20100810BM17-2	2	6.46	6.15	6.03	6.64	6.38	1199
BM169	SW-20100810BM17-3	3	6.53	5.92	6.31	6.51	6.35	1149
BM169	SW-20100810BM17-4	4	6.46	6.04	5.92	6.47	6.22	1139
BM169	SW-20100810BM17-5	5	5.82	6.06	5.93	6.28	6.01	1127
BM169	SW-20100810BM17-6	6	5.18	5.72	5.61	6.04	5.74	1120
BM169	SW-20100810BM17-7	7	5.75	5.52	5.51	6.04	5.74	1109
BM169	SW-20100810BM17-8	8	5.3	5.60	5.66	6.01	5.71	1099
BM169	SW-20100810BM17-9	9	5.8	5.82	5.77	6.08	5.8	1089
BM169	SW-20100810BM17-10	10	6.07	5.60	5.6	6.12	5.86	1079
BM169	SW-20100810BM17-11	11	5.78	6.33	5.99	6.17	6.01	1069
BM170	SW-20100810BM17-13	1	6.51	6.71	6.36	7.13	6.98	1798
BM170	SW-20100810BM17-14	2	6.31	6.96	6.41	7.1	6.96	1599
BM170	SW-20100810BM17-15	3	6.45	6.68	6.45	6.79	6.88	1399
BM170	SW-20100810BM17-16	4	6.46	6.74	6.53	6.78	6.62	1199
BM170	SW-20100810BM17-17	5	5.82	6.05	5.73	6.43	6.19	1024
BM170	SW-20100810BM17-18	6	5.6	6.11	5.6	6.29	6.1	999
BM170	SW-20100810BM17-19	7	5.4	5.15	5.05	5.54	5.27	799
BM170	SW-20100810BM17-20	8	4.3	4.44	4.22	4.71	4.39	600
BM170	SW-20100810BM17-21	9	3.98	4.00	3.87	4.35	3.98	400
BM170	SW-20100810BM17-22	10	4.19	3.93	4.21	4.78	4.51	200
BM170	SW-20100810BM17-23	11	6.15	5.30	6.19	6.41	6.38	2
BM171	SW-20100810BM17-25	1	6.32	6.30	6.79	7.17	7	1689
BM171	SW-20100810BM17-26	2	6.05	6.42	6.9	7.08	6.98	1599
BM171	SW-20100810BM17-27	3	6.62	6.41	6.79	7.1	6.89	1399
BM171	SW-20100810BM17-28	4	6.13	5.35	5.67	6.52	6.68	1199
BM171	SW-20100810BM17-29	5	6.01	5.73	5.62	6.27	6.08	1000
BM171	SW-20100810BM17-30	6	5.25	5.08	5.32	5.61	5.34	800
BM171	SW-20100810BM17-31	7	4.25	4.28	4.19	4.75	4.39	600
BM171	SW-20100810BM17-32	8	4.42	3.94	3.74	4.31	3.94	400
BM171	SW-20100810BM17-33	9	4.15	4.02	4.24	4.76	4.48	200
BM171	SW-20100810BM17-34	10	5.65	5.54	5.51	6.52	6.41	2
BM172	SW-20100811BM17-1	1	na	6.11	6.18	6.78	6.63	1343
BM172	SW-20100811BM17-2	2	na	5.68	6.05	6.54	6.36	1199
BM172	SW-20100811BM17-3	3	na	5.59	6.06	6.32	6	1189
BM172	SW-20100811BM17-4	4	na	5.04	5.63	6.16	5.84	1179
BM172	SW-20100811BM17-5	5	na	5.00	6	6.19	6.02	1169
BM172	SW-20100811BM17-6	6	na	4.81	5.67	6.06	5.88	1159
BM172	SW-20100811BM17-7	7	na	4.46	5.58	5.98	5.79	1149
BM172	SW-20100811BM17-8	8	na	4.87	5.79	5.97	5.73	1139
BM172	SW-20100811BM17-9	9	na	4.66	5.36	5.91	5.71	1129
BM172	SW-20100811BM17-10	10	na	4.82	5.37	5.91	5.73	1119
BM172	SW-20100811BM17-11	11	na	4.79	5.81	5.93	5.75	1110
BM175	SW-20100816BM18-1	2	5.44		5.23	5.79	5.63	1055
BM175	SW-20100816BM18-2	4	5.23		5.26	5.84	5.56	999
BM175	SW-20100816BM18-3	6	4.51		4.57	5.14	4.74	750
BM175	SW-20100816BM18-4	8	3.96		3.84	4.3	3.93	500
BM175	SW-20100816BM18-5	10	5.73		6.47	6.87	6.86	2
BM176	SW-20100816BM18-7	2	6.14		6.24	6.53	6.68	1412
BM176	SW-20100816BM18-8	4	5.78		5.88	6.28	5.95	1049
BM176	SW-20100816BM18-9	6	5.35		4.63	5.13	4.76	750
BM176	SW-20100816BM18-10	8	4.47		3.96	4.32	3.87	500
BM176	SW-20100816BM18-11	10	6.52		6.19	6.62	6.52	2
BM177	SW-20100816BM18-13	2	6.57		6.23	6.49	6.43	1325
BM177	SW-20100816BM18-14	4	6		5.71	6.06	5.79	1099
BM177	SW-20100816BM18-15	6	5.35		4.94	5.41	5.1	749
BM177	SW-20100816BM18-16	8	4.22		3.78	4.35	3.96	500
BM177	SW-20100816BM18-17	10	6.19		5.82	6.52	6.42	2
BM178	SW-20100818BM18-1	2	6.81		6.85	7.3	7.05	1905
BM178	SW-20100818BM18-2	4	6.62		6.65	6.89	6.66	1239
BM178	SW-20100818BM18-3	6	6.42		6.41	6.71	6.49	1149
BM178	SW-20100818BM18-4	8	4.3		3.86	4.6	4	500
BM178	SW-20100818BM18-5	10	5.65		5.63	6.5	6.36	2
BM179	SW-20100816BM18-9	2	6.61		6.48	6.91	6.78	1484
BM179	SW-20100816BM18-10	4	6.32		5.94	6.68	6.45	1149
BM179	SW-20100816BM18-11	6	5.71		5.85	6.32	6	1019
BM179	SW-20100816BM18-12	8	4.02		3.87	4.61	4.04	500
BM179	SW-20100816BM18-13	10	5.75		6.03	6.57	6.41	2
BM180	SW-20100818BM18-15	2	na		5.26	6.01	5.91	1094
BM180	SW-20100818BM18-16	4	na		4.91	5.95	5.7	999
BM180	SW-20100818BM18-17	6	na		4.39	5.29	4.94	750
BM180	SW-20100818BM18-18	8	na		3.69	4.41	3.99	500
BM180	SW-20100818BM18-19	10	na		5.99	6.46	6.45	3
BM182	SW-20100822BM19-1	2	5.77		5.66	5.97	5.79	1071	0.13
BM182	SW-20100822BM19-2	4	5.57		5.08	5.79	5.61	1049	0.53
BM182	SW-20100822BM19-3	6	5.3		5.28	5.7	5.47	999	0.19
BM182	SW-20100822BM19-4	8	4.12		3.65	4.42	3.92	500	0.27
BM182	SW-20100822BM19-5	10	5.5		6.2	6.6	6.5	2	0.3
BM183	SW-20100822BM19-7	2	6.13		6.37	6.51	6.41	1240	0.04
BM183	SW-20100822BM19-8	4	5.3		5.67	6.06	5.79	1049	0.12
BM183	SW-20100822BM19-9	6	5.21		4.99	5.87	5.59	1000	0.6
BM183	SW-20100822BM19-10	8	3.64		3.74	4.43	3.89	500	0.15
BM183	SW-20100822BM19-11	10	5.35		6.38	6.64	6.68	2	0.3
BM184	SW-20100822BM19-13	2	6.34		6.53	6.68	6.61	1338	0.08
BM184	SW-20100822BM19-14	4	5.43		5.26	6.15	5.87	1119	0.61
BM184	SW-20100822BM19-15	6	5.1		5.56	5.99	5.88	1079	0.32
BM184	SW-20100822BM19-16	8	3.8		3.75	4.33	3.92	500	0.17
BM184	SW-20100822BM19-17	10	5.74		6.64	6.87	6.99	2	0.35
BM185	SW-20100822BM19-21	2	6.05		6.32	6.73	6.67	1478	0.35
BM185	SW-20100822BM19-22	4	5.38		5.7	6.49	6.28	1179	0.58
BM185	SW-20100822BM19-23	6	5.29		5.68	6.18	5.98	1049	0.3
BM185	SW-20100822BM19-24	8	3.75		3.63	4.48	3.93	500	0.3
BM185	SW-20100822BM19-25	10	6.32		6.79	7.02	7.37	2	0.58
BM186	SW-20100823BM19-1	2	6.9		6.3	6.93	6.85	1641	0.55
BM186	SW-20100823BM19-2	4	6.33		6.03	6.5	6.3	1150	0.27
BM186	SW-20100823BM19-3	6	6.25		5.34	6.23	5.95	1049	0.61
BM186	SW-20100823BM19-4	8	4.31		3.71	4.46	3.92	500	0.21
BM186	SW-20100823BM19-5	10	6.21		6.31	6.53	6.72	2	0.41
BM187	SW-20100823BM19-8	2	6.39		6.62	7.03	6.86	1688	0.24
BM187	SW-20100823BM19-9	4	6.25		5.78	6.66	6.36	1149	0.58
BM187	SW-20100823BM19-10	6	5.85		5.74	6.32	6.03	1049	0.29
BM187	SW-20100823BM19-11	8	3.98		3.87	4.61	3.95	500	0.08
BM187	SW-20100823BM19-12	10	6.15		6.45	6.6	6.87	3	0.42
BM188	SW-20100823BM19-14	2	7		6.67	6.91	6.82	1588	0.15
BM188	SW-20100823BM19-15	4	5.95		6.09	6.34	6.08	1119	-0.01
BM188	SW-20100823BM19-16	6	5.96		5.54	6.3	6.11	1089	0.57
BM188	SW-20100823BM19-17	8	3.94		3.82	4.46	3.93	500	0.11
BM188	SW-20100823BM19-18	10	6.01		6.75	7.07	7.33	3	0.58
BM189	SW-20100823BM19-21	2	6.04		6.07	6.86	6.65	1377	0.58
BM189	SW-20100823BM19-22	4	5.58		5.68	6.33	6.08	1149	0.4
BM189	SW-20100823BM19-23	6	4.58		4.45	5.25	4.7	750	0.25
BM189	SW-20100823BM19-24	8	3.8		3.73	4.37	3.91	500	0.18
BM189	SW-20100823BM19-25	10	6.15		6.68	7.02	7.35	3	0.67
BM190	SW-20100824BM19-1	2	6.46		6	6.6	6.49	1285	0.49
BM190	SW-20100824BM19-2	4	6.47		5.65	6.21	6	1153	0.35
BM190	SW-20100824BM19-3	6	6.4		5.61	6.15	5.92	1079	0.31
BM190	SW-20100824BM19-4	8	4.14		3.68	4.35	3.85	500	0.17
BM190	SW-20100824BM19-5	10	6.7		6	6.67	6.85	2	0.85
BM191	SW-20100824BM19-7	2	6.42		6.16	6.9	6.78	1488	0.62
BM191	SW-20100824BM19-8	4	5.71		5.16	6.1	5.7	1149	0.54
BM191	SW-20100824BM19-9	6	6.71		5.77	6.29	5.99	1049	0.22
BM191	SW-20100824BM19-10	8	3.93		3.58	4.38	3.92	500	0.34
BM191	SW-20100824BM19-11	10	5.93		6.38	6.8	7.01	2	0.63
BM192	SW-20100824BM19-15	2	6.69		6.81	7.17	6.95	1759	0.14
BM192	SW-20100824BM19-17	4	6.46		5.69	6.61	6.36	1149	0.67
BM192	SW-20100824BM19-18	6	5.77		5.76	6.28	6.02	1049	0.26
BM192	SW-20100824BM19-19	8	4.06		3.63	4.48	4	500	0.37
BM192	SW-20100824BM19-20	10	5.91		6.21	6.73	6.89	2	0.68
BM193	SW-20100824BM19-22	2	6.59		6.42	7.1	6.95	1799	0.53
BM193	SW-20100824BM19-23	4	6.53		6.23	6.69	6.48	1149	0.25
BM193	SW-20100824BM19-24	6	6.24		5.79	6.41	6.17	1049	0.38
BM193	SW-20100824BM19-25	8	4.15		3.86	4.39	4	500	0.14
BM193	SW-20100824BM19-26	10	5.66		6.31	6.55	6.56	3	0.25
BM 194	SW-20100830BM20-01	2	5.73		6.92	na	6.99	1890
BM 194	SW-20100830BM20-01	4	5.7		6.22	na	6.51	1150	0.34
BM 194	SW-20100830BM20-01	6	5.85		5.98	na	4.69	1050
BM 194	SW-20100830BM20-01	8	4.32		3.71	na	3.94	500
BM 194	SW-20100830BM20-01	10	5.25		5.91	na	6.33	2
BM 195	SW-20100830BM20-02	2	5.3		6.72	na	7.01	1890
BM 195	SW-20100830BM20-02	4	6.7		6.13	na	6.46	1150
BM 195	SW-20100830BM20-02	6	5.8		5.88	na	6.18	1050
BM 195	SW-20100830BM20-02	8	4.8		3.8	na	3.89	500
BM 195	SW-20100830BM20-02	10	5.6		5.98	na	6.35	2
BM 196	SW-20100831BM20-01	2	11.2		6.84	na	7.02	1890
BM 196	SW-20100831BM20-01	4	11.4		6.53	na	6.66	1150
BM 196	SW-20100831BM20-01	6	9.2		6	na	6.23	1000
BM 196	SW-20100831BM20-01	8	6.1		4.3	na	3.97	500
BM 196	SW-20100831BM20-01	10	8.4		5.85	na	6.37	2
BM 197	SW-20100831BM20-02	2	6.4		6.67	na	7.02	1890
BM 197	SW-20100831BM20-02	4	5.9		6.57	na	6.4	1080
BM 197	SW-20100831BM20-02	6	5.4		5.67	na	6.12	980
BM 197	SW-20100831BM20-02	8	4		3.72	na	4.05	500
BM 197	SW-20100831BM20-02	10	4.4		5.87	na	6.4	2
BM 198	SW-20100831BM20-03	2	6.6		6.73	na	7.02	1890
BM 198	SW-20100831BM20-03	4	6.7		5.97	na	6.29	1075
BM 198	SW-20100831BM20-03	6	5.7		5.76	na	5.99	1010
BM 198	SW-20100831BM20-03	8	4		3.87	na	4.05	500
BM 198	SW-20100831BM20-03	10	4.9		6.02	na	6.44	2
BM 199	SW-20100901BM20-01	2	9.1		6.37	na	6.7	1280
BM 199	SW-20100901BM20-01	4	6.2		5.68	na	5.9	1060
BM 199	SW-20100901BM20-01	6	6		5.64	na	5.8	1000
BM 199	SW-20100901BM20-01	8	4.1		3.85	na	4	500
BM 199	SW-20100901BM20-01	10	5.7		6.08	na	6.5	2
BM 200	SW-20100901BM20-02	2	7		6.03	na	6.2	1135
BM 200	SW-20100901BM20-02	4	6.5		5.57	na	5.8	1060
BM 200	SW-20100901BM20-02	6	7		5.63	na	5.8	1000
BM 200	SW-20100901BM20-02	8	5.4		3.83	na	4.1	500
BM 200	SW-20100901BM20-02	10	5.8		6.12	na	6.5	2
BM 201	SW-20100901BM20-03	2	8.7		6.01	na	6.2	1140
BM 201	SW-20100901BM20-03	4	7.8		5.29	na	5.9	1030
BM 201	SW-20100901BM20-03	6	6.5		4.92	na	5.2	850
BM 201	SW-20100901BM20-03	8	5.1		3.91	na	3.9	500
BM 201	SW-20100901BM20-03	10	6		6.05	na	6.5	2
BM 202	SW-20100901BM20-04	2	6.1		5.59	na	5.8	962
BM 202	SW-20100901BM20-04	4	6.7		5.02	na	5.7	900
BM 202	SW-20100901BM20-04	6	5.7		4.26	na	4.6	700
BM 202	SW-20100901BM20-04	8	5		3.84	na	4	500
BM 202	SW-20100901BM20-04	10	6.5		6.07	na	6.5	2
BM 203	SW-20100903BM21-01	2	N/A		5.86	6.5	6.1	1119
BM 203	SW-20100903BM21-01	4	N/A		5.65	6.3	5.9	1050
BM 203	SW-20100903BM21-01	6	N/A		4.21	4.9	4.3	641
BM 203	SW-20100903BM21-01	8	N/A		3.82	4.5	4	500
BM 203	SW-20100903BM21-01	10	N/A		6.06	6.8	6.4	3
BM 204	SW-20100903BM21-02	2	N/A		6.23	6.7	6.5	1228
BM 204	SW-20100903BM21-02	4	N/A		5.61	6.3	5.9	1049
BM 204	SW-20100903BM21-02	6	N/A		4.86	5.1	5	800
BM 204	SW-20100903BM21-02	8	N/A		3.86	4.4	4	500
BM 204	SW-20100903BM21-02	10	N/A		6.07	6.7	6.4	2
BM 205	SW20100904BM21-01	2	6.5		6.46	6.8	6.7	1396
BM 205	SW20100904BM21-01	4	8.2		6.1	6.7	6.3	1150
BM 205	SW20100904BM21-01	6	6.5		5.82	6.4	6	1079
BM 205	SW20100904BM21-01	8	4.6		3.86	4.4	3.9	500
BM 205	SW20100904BM21-01	10	5.6		5.99	6.5	6.3	3
BM 206	SW20100904BM21-02	2	7.3		6.56	7.1	6.9	1838
BM 206	SW20100904BM21-02	4	7.8		6.14	6.8	6.4	1199
BM 206	SW20100904BM21-02	6	6.2		5.72	6.4	5.9	1049
BM 206	SW20100904BM21-02	8	6.1		3.74	4.5	3.9	500
BM 206	SW20100904BM21-02	10	8.6		5.99	6.6	2.8	3
BM 207	SW20100904BM21-03	2	7.1		6.18	6.5	6.8	1477
BM 207	SW20100904BM21-03	4	5.8		5.57	4.4	5.9	1156
BM 207	SW20100904BM21-03	6	7.2		5.43	6.2	5.9	1050
BM 207	SW20100904BM21-03	8	7.3		3.61	6.2	3.9	500
BM 207	SW20100904BM21-03	10	7.7		5.77	7.1	6.3	3
BM 208	SW20100904BM21-04	2	8.5		6.47	7.2	7	1888
BM 208	SW20100904BM21-04	4	7.4		6.56	6.5	7	1200
BM 208	SW20100904BM21-04	6	7.4		5.4	6.2	5.8	1049
BM 208	SW20100904BM21-04	8	5.3		3.65	4.1	3.9	500
BM 208	SW20100904BM21-04	10	6.1		5.76	6.6	6.4	3
BM 209	SW20100905BM21-01	2	NA		2.49	7.3	6.7	1848
BM 209	SW20100905BM21-01	4	NA		4.95	7.2	6.5	1199
BM 209	SW20100905BM21-01	6	NA		5.64	6.4	6.1	1059
BM 209	SW20100905BM21-01	7	NA		3.71	4.5	3.9	500
BM 209	SW20100905BM21-01	10	NA		5.83	6.6	6.4	2
BM 210	SW20100905BM21-02	2	NA		6.52	7.5	7	1888
BM 210	SW20100905BM21-02	4	NA		5.56	6.4	6	1139
BM 210	SW20100905BM21-02	6	NA		5.52	6.3	5.7	1050
BM 210	SW20100905BM21-02	8	NA		3.59	4.3	3.8	500
BM 210	SW20100905BM21-02	10	NA		5.81	6.5	6.4	2
BM 211	SW20100905BM21-03	2	NA		N/A	7.3	6.5	1889
BM 211	SW20100905BM21-03	4	NA		N/A	6.9	6.5	1199
BM 211	SW20100905BM21-03	6	NA		N/A	6.5	6.1	1059
BM 211	SW20100905BM21-03	8	NA		N/A	4.3	3.8	500
BM 211	SW20100905BM21-03	10	NA		N/A	6.7	6.4	2

StationID	SampleID	Niskin Bottle#	DO_Membrane	DO_Winkler	DO_Hach	DO_Optical	DO_Seabird	Depth
			(mg/L)	(mg/L)	(mg/L)	(mg/L)	(mg/L)	Depth [m]

		Data set from Brooks McCall Cruise 15 (13 sites, 65 stations)						Total data set from Brooks McCall (26 sites, 158 stations)
		Correlation	Seabird	Hach	Optical	Membrane		Correlation	Seabird	Hach	Optical	Membrane
		Winkler	-	-	-	-		Winkler	0.86	0.87	0.85	0.87
		Seabird		0.97	0.91	0.79		Seabird		0.96	0.89	0.81
		Hach			0.90	0.84		Hach			0.85	0.78
		Optical				0.82		Optical				0.89
								This total table is now outdated

		Data set from Brooks McCall Cruise 16 (13 sites, 50 stations)
		Correlation	Seabird	Hach	Optical	Membrane
		Winkler	0.83	0.86	0.81	0.81
		Seabird		0.96	0.98	0.89
		Hach			0.96	0.95
		Optical				0.90

		Data set from Brooks McCall Cruise 17 (4 sites, 43 stations)
		Correlation	Seabird	Hach	Optical	Membrane
		Winkler	0.87	0.85	0.88	0.90
		Seabird		0.96	0.99	0.93
		Hach			0.97	0.93
		Optical				0.93

		Data set from Brooks McCall Cruise 18 (6 sites, 30 stations)
		Correlation	Seabird	Hach	Optical	Membrane
		Winkler	-	-	-	-
		Seabird		0.99	0.99	0.94
		Hach			0.98	0.95
		Optical				0.94

		Data set from Brooks McCall Cruise 19 (12 sites, 60 stations)
		Correlation	Seabird	Hach	Optical	Membrane
		Winkler	-	-	-	-
		Seabird		0.99	0.99	0.90
		Hach			0.98	0.90
		Optical				0.92

		Data set from Brooks McCall Cruise 20 (12 sites, 60 stations)
		Correlation	Seabird	Hach	Optical	Membrane
		Winkler	-	-	-	-
		Seabird		0.91		0.60
		Hach				5.58
		Optical

		Data set from Brooks McCall Cruise 21 (12 sites, 60 stations)
		Correlation	Seabird	Hach	Optical	Membrane
		Winkler	-	-	-	-
		Seabird		0.77	0.60	0.23	Calibration was unavailable for stations BM203, BM204
		Hach				0.53
		Optical

## OV Data
StationID	SampleID	Niskin Bottle#	DO_Membrane	DO_Winkler	DO_Hach	DO_Optical	DO_Seabird	Depth	Data to the right are sorted for paired comparisons	StationID	SampleID	Niskin Bottle#	DO_Membrane	DO_Winkler	DO_Hach	DO_Optical	DO_Seabird	Depth
			(mg/L)	(mg/L)	(mg/L)	(mg/L)	(mg/L)	Depth [m]					(mg/L)	(mg/L)	(mg/L)	(mg/L)	(mg/L)	Depth [m]
OV149	SW-20100801-OV12-001	1	5.33	5.71		5.68	5.76	1149		OV153	SW-20100802-OV12-001	1	6.25	6.79		6.61	6.78	1450
OV149	SW-20100801-OV12-002	2	5.23	5.97		6.04	5.81	1010		OV152	SW-20100801-OV12-032	1	6.12	5.87		6.78	6.5	1350
OV149	SW-20100801-OV12-007	5	3.38	3.88		4.2	3.91	400		OV152	SW-20100801-OV12-038	7	6.03	6.8		7.64	7.29	50
OV149	SW-20100801-OV12-010	7	5.48	7.2		7.56	7.34	50		OV153	SW-20100802-OV12-004	2	5.86	5.72		6.67	6.39	1300
OV150	SW-20100801-OV12-013	1	4.57	4.9		5.03	4.94	750		OV152	SW-20100801-OV12-034	3	5.84	6.46		6.99	6.49	1250
OV150	SW-20100801-OV12-014	2	3.58	4.36		4.62	4.39	650		OV152	SW-20100801-OV12-037	6	5.73	7.45		7.73	3.98	400
OV150	SW-20100801-OV12-015	3	3.42	3.93		4.29	3.97	500		OV152	SW-20100801-OV12-033	2	5.73	6.06		6.76	6.51	1300
OV150	SW-20100801-OV12-016	4	3.39	4.13		4.65	4.19	300		OV154	SW-20100802-OV12-014	2	5.64	6.31		6.82	6.29	1272
OV150	SW-20100801-OV12-017	5	3.25	3.46		4.37	4.03	233		OV154	SW-20100802-OV12-013	1	5.63	6.07		7.02	6.63	1350
OV150	SW-20100801-OV12-018	6	3.81	4.89		5.3	4.97	128		OV152	SW-20100801-OV12-035	4	5.59	6.26		6.71	5.92	1192
OV150	SW-20100801-OV12-019	7	5.51	6.08		7.45	7.24	50		OV150	SW-20100801-OV12-019	7	5.51	6.08		7.45	7.24	50
OV150	SW-20100801-OV12-020	8	4.83	5.32		6.75	6.44	3		OV149	SW-20100801-OV12-010	7	5.48	7.2		7.56	7.34	50
OV151	SW-20100801-OV12-021	1	5.22	5.73		5.77	5.77	1060		OV153	SW-20100802-OV12-005	3	5.44	5.87		6.3	5.69	1206
OV151	SW-20100801-OV12-022	2	4.91	5.63		5.89	5.68	1020		OV152	SW-20100801-OV12-036	5	5.38	6.1		6.31	5.83	1165
OV151	SW-20100801-OV12-023	3	3.52	4.22		4.56	4.2	600		OV153	SW-20100802-OV12-010	7	5.35	6.87		7.4	7.17	50
OV151	SW-20100801-OV12-024	4	3.53	3.38		4.28	3.92	351		OV154	SW-20100802-OV12-016	4	5.34	5.84		6.42	5.59	1169
OV151	SW-20100801-OV12-025	5	3.46	4.21		4.57	4.24	300		OV149	SW-20100801-OV12-001	1	5.33	5.71		5.68	5.76	1149
OV151	SW-20100801-OV12-026	6	3.91	4.83		5.24	4.89	150		OV154	SW-20100802-OV12-019	7	5.26	6.73		7.34	7.11	50
OV151	SW-20100801-OV12-029	7	5.14	7.17		7.61	7.43	50		OV149	SW-20100801-OV12-002	2	5.23	5.97		6.04	5.81	1010
OV151	SW-20100801-OV12-031	8	4.29	6.35		6.95	6.51	3		OV151	SW-20100801-OV12-021	1	5.22	5.73		5.77	5.77	1060
OV152	SW-20100801-OV12-032	1	6.12	5.87		6.78	6.5	1350		OV155	SW-20100802-OV12-022	2	5.18	5.83		6.22	5.84	1020
OV152	SW-20100801-OV12-033	2	5.73	6.06		6.76	6.51	1300		OV154	SW-20100802-OV12-015	3	5.15	5.67		6.38	5.92	1205
OV152	SW-20100801-OV12-034	3	5.84	6.46		6.99	6.49	1250		OV151	SW-20100801-OV12-029	7	5.14	7.17		7.61	7.43	50
OV152	SW-20100801-OV12-035	4	5.59	6.26		6.71	5.92	1192		OV155	SW-20100802-OV12-021	1	5.05	5.87		6.08	5.91	1060
OV152	SW-20100801-OV12-036	5	5.38	6.1		6.31	5.83	1165		OV151	SW-20100801-OV12-022	2	4.91	5.63		5.89	5.68	1020
OV152	SW-20100801-OV12-037	6	5.73	7.45		7.73	3.98	400		OV150	SW-20100801-OV12-020	8	4.83	5.32		6.75	6.44	3
OV152	SW-20100801-OV12-038	7	6.03	6.8		7.64	7.29	50		OV153	SW-20100802-OV12-007	5	4.61	5.36		5.89	5.75	1050
OV152	SW-20100801-OV12-039	8	4.38	4.66		6.89	6.45	3		OV153	SW-20100802-OV12-011	8	4.58	6.35		6.89	6.49	3
OV153	SW-20100802-OV12-001	1	6.25	6.79		6.61	6.78	1450		OV150	SW-20100801-OV12-013	1	4.57	4.9		5.03	4.94	750
OV153	SW-20100802-OV12-004	2	5.86	5.72		6.67	6.39	1300		OV152	SW-20100801-OV12-039	8	4.38	4.66		6.89	6.45	3
OV153	SW-20100802-OV12-005	3	5.44	5.87		6.3	5.69	1206		OV151	SW-20100801-OV12-031	8	4.29	6.35		6.95	6.51	3
OV153	SW-20100802-OV12-012	4		5.83			5.72	1157		OV154	SW-20100802-OV12-020	8	4.22	6.32		6.86	6.48	3
OV153	SW-20100802-OV12-007	5	4.61	5.36		5.89	5.75	1050		OV151	SW-20100801-OV12-026	6	3.91	4.83		5.24	4.89	150
OV153	SW-20100802-OV12-009	6		3.81			3.78	400		OV150	SW-20100801-OV12-018	6	3.81	4.89		5.3	4.97	128
OV153	SW-20100802-OV12-010	7	5.35	6.87		7.4	7.17	50		OV150	SW-20100801-OV12-014	2	3.58	4.36		4.62	4.39	650
OV153	SW-20100802-OV12-011	8	4.58	6.35		6.89	6.49	3		OV151	SW-20100801-OV12-024	4	3.53	3.38		4.28	3.92	351
OV154	SW-20100802-OV12-013	1	5.63	6.07		7.02	6.63	1350		OV151	SW-20100801-OV12-023	3	3.52	4.22		4.56	4.2	600
OV154	SW-20100802-OV12-014	2	5.64	6.31		6.82	6.29	1272		OV151	SW-20100801-OV12-025	5	3.46	4.21		4.57	4.24	300
OV154	SW-20100802-OV12-015	3	5.15	5.67		6.38	5.92	1205		OV150	SW-20100801-OV12-015	3	3.42	3.93		4.29	3.97	500
OV154	SW-20100802-OV12-016	4	5.34	5.84		6.42	5.59	1169		OV150	SW-20100801-OV12-016	4	3.39	4.13		4.65	4.19	300
OV154	SW-20100802-OV12-018	6	3.15	3.8		4.26	3.84	400		OV149	SW-20100801-OV12-007	5	3.38	3.88		4.2	3.91	400
OV154	SW-20100802-OV12-019	7	5.26	6.73		7.34	7.11	50		OV150	SW-20100801-OV12-017	5	3.25	3.46		4.37	4.03	233
OV154	SW-20100802-OV12-020	8	4.22	6.32		6.86	6.48	3		OV154	SW-20100802-OV12-018	6	3.15	3.8		4.26	3.84	400
OV155	SW-20100802-OV12-021	1	5.05	5.87		6.08	5.91	1060		OV157	SW-20100802-OV12-048	3		6.79		7.36	6.83	1500
OV155	SW-20100802-OV12-022	2	5.18	5.83		6.22	5.84	1020		OV157	SW-20100802-OV12-049	4		6.87		7.25	6.77	1400
OV156	SW-20100802-OV12-032	1		6.69		6.26	6.75	1340		OV157	SW-20100802-OV12-050	5		6.62		7.17	6.66	1300
OV156	SW-20100802-OV12-033	2		6.54		6.66	6.56	1250		OV156	SW-20100802-OV12-034	3		6.35		6.7	6.41	1200
OV156	SW-20100802-OV12-034	3		6.35		6.7	6.41	1200		OV156	SW-20100802-OV12-033	2		6.54		6.66	6.56	1250
OV156	SW-20100802-OV12-035	4		5.33		5.76	6.16	1150		OV157	SW-20100802-OV12-051	6		6.09		6.65	6.43	1200
OV156	SW-20100802-OV12-036	5		5.84		6.33	4.73	1131		OV157	SW-20100802-OV12-053	8		5.86		6.42	5.86	1069
OV156	SW-20100802-OV12-039	6		4.55		5.01	4.63	1124		OV156	SW-20100802-OV12-036	5		5.84		6.33	4.73	1131
OV156	SW-20100802-OV12-040	7		5.13		5.52	5.1	1100		OV156	SW-20100802-OV12-042	9		5.81		6.29	5.83	1025
OV156	SW-20100802-OV12-041	8		5.36		5.84	5.38	1085		OV156	SW-20100802-OV12-032	1		6.69		6.26	6.75	1340
OV156	SW-20100802-OV12-042	9		5.81		6.29	5.83	1025		OV157	SW-20100802-OV12-052	7		5.61		6.18	5.46	1132
OV157	SW-20100802-OV12-048	3		6.79		7.36	6.83	1500		OV156	SW-20100802-OV12-041	8		5.36		5.84	5.38	1085
OV157	SW-20100802-OV12-049	4		6.87		7.25	6.77	1400		OV156	SW-20100802-OV12-035	4		5.33		5.76	6.16	1150
OV157	SW-20100802-OV12-050	5		6.62		7.17	6.66	1300		OV156	SW-20100802-OV12-040	7		5.13		5.52	5.1	1100
OV157	SW-20100802-OV12-051	6		6.09		6.65	6.43	1200		OV156	SW-20100802-OV12-039	6		4.55		5.01	4.63	1124
OV157	SW-20100802-OV12-052	7		5.61		6.18	5.46	1132		OV153	SW-20100802-OV12-012	4		5.83			5.72	1157
OV157	SW-20100802-OV12-053	8		5.86		6.42	5.86	1069		OV153	SW-20100802-OV12-009	6		3.81			3.78	400

		Data set from Ocean Veritas Cruise 12 (9 stations, 60 stations)
		Correlation	Seabird	Optical	Membrane
		Winkler	0.82	0.92	0.84
		Seabird		0.86	0.75
		Optical			0.82