## Information
This Workbook contains 4 worksheets for recording Subsurface Monitoring data
Each of these worksheets has a Descriptions table with field definitions

Please fill out each table (as applicable) and provide to Subsurface Monitoring Unit in Houma

Worksheets
Locations_Data_Entry | Locations_Field_Descriptions

Sample_Data_Entry | Samples_Field_Descriptions

Subsurface Monitoring Unit (Houma)
data.smu@noaa.gov
985.435.2109

Updated 08/05/2010

## Locations_Data_Entry
CruiseNum	CruiseID	StationID	Latitude	Longitude	Depth	Date	Datum	PeakFluorescence	DepthFluorescence	RangeFluorescence	RangeDO	DepthDO	Comments
8	08-23-2010_Ferrel	BP-TN15-SS01	27.000722	-89.619192	2500	8/24/2010	NAD27					1040	BP location site T10 S16. DO decline with two depressions of 0.2 mg/l at 975m and 1040m.
8	08-23-2010_Ferrel	BP-TN15-SS02	26.9127	-89.5977	2500	8/24/2010	NAD27					1060	BP location site T10 S17. DO decline with three depressions of 0.1 mg/l at 1020m, 1060m, and <0.1 mg/l at 1036m.
8	08-23-2010_Ferrel	BP-TN15-SS03	26.824583	-89.576242	2500	8/24/2010	NAD27					1075	BP location site T10 S18. DO decline with four depressions of 0.1 mg/l at 1020m, 0.2 mg/l at 1075m, and <0.1 mg/l at 1052m and 1105m.

## Locations_Field_Descriptions
Field Name	Required?	Description	Formatting Requirements
CruiseNum	Yes	Unique identifier for the incremented Cruise number (e.g. 01)	Numeric
CruiseID	Yes	Unique identifier for the at-sea operating period (e.g., 05-23-10_Brooks McCall).	<Cruise Start Date>_<Vessel Name>
StationID	Yes	Unique identifier of the location at which samples are collected and measurements are made (e.g. Brooks McCall Station 16 = BM016).	<Vessels Initials><3-digit sequential number representing the sampling station>
Latitude	Yes	The latitude that is generated by the CDT (e.g. 28.732012).	Decimal Degrees (six decimal places)
Longitude	Yes	The longitude that is generated by the CDT (e.g. -88.318897).	Decimal Degrees (six decimal places)
Depth	Yes	Total water depth in meters at this location. If possible, take that depth from rough-scale (75 m resolution) bathymetric chart. Otherwise, use the sum of the CDT maximum depth and the instrument's altimeter value at that depth.	Numeric
Date	Yes	The date that the station is occupied.	MM/DD/YYYY
Datum	Yes	The datum used to collect the latitude and longitude measurements.	Must be "NAD83" or “WGS84”
PeakFluorescence	No	A code for the peak fluorescence signal strength. Valid Values correspond to the following readings.	Valid Values (corresponding readings): / No Plume (Background) / Very Weak (<= 1 mg/m3) / Weak (> 1 mg/m3 and <= 5 mg/m3) / Moderate (>5 mg/m3 and <=15 mg/m3) / Strong (> 15 mg/m3)
DepthFluorescence	No	The depth (in meters from the surface) at which the peak fluorescence signal strength was obtained.	Numeric
RangeFluorescence	No	The range (in mg/m3) for the fluorescence signal strength	Please format as Min. Number - Max. Number
RangeDO	No	The range (in units of mg/L) for dissolved Oxygen	Please format as Min. Number - Max. Number
DepthDO	No	The depth (in meters from the surface) for the minimum Dissolved Oxygen reading	Numeric
Comments	No	Comments or remarks related to this location.	Free Text

## Samples_Data_Entry
CruiseID	StationID	SampleID	BottleNumber	SubsampleID	SampleMatrix	SampleType	CollectionMethod	SampleDate	TimeDeployed	TimeCollected	SampleDepth	SampleSheen	DO_LaMotte	DO_Probe	DO_Winkler	DO_Optical	LISST	TOX_8oz	TPH_1L	VOA_40ml	GC_MS	SampleTeam	Sampler	SampleComments
08-23-2010_Ferrel	BP-TN15-SS01	SW-20100824-FER8-01	99	1	SW	N	G	8/24/2010		9:34	0.5	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For Lawrence Berkeley National Labs. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS01	SW-20100824-FER8-02	1,2	1	SW	N	C	8/24/2010	8:55	9:50	1200.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS01	SW-20100824-FER8-03	2,3	2	SW	N	C	8/24/2010	8:55	9:50	1200.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling
08-23-2010_Ferrel	BP-TN15-SS01	SW-20100824-FER8-04	4,5	1	SW	N	C	8/24/2010	8:55	9:55	1075.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS01	SW-20100824-FER8-05	7,8	1	SW	N	C	8/24/2010	8:55	9:59	975.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling
08-23-2010_Ferrel	BP-TN15-SS01	SW-20100824-FER8-06	6,7	2	SW	N	C	8/24/2010	8:55	9:59	975.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS01	SW-20100824-FER8-07	10,11	1	SW	N	C	8/24/2010	8:55	10:03	850.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling
08-23-2010_Ferrel	BP-TN15-SS01	SW-20100824-FER8-08	9,10	2	SW	N	C	8/24/2010	8:55	10:03	850.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS02	SW-20100824-FER8-09	99	1	SW	N	G	8/24/2010		12:41	0.5	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS02	SW-20100824-FER8-10	1,2	1	SW	N	C	8/24/2010	11:58	12:54	1200.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS02	SW-20100824-FER8-11	2,3	2	SW	N	C	8/24/2010	11:58	12:54	1200.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling
08-23-2010_Ferrel	BP-TN15-SS02	SW-20100824-FER8-12	5,6	1	SW	N	C	8/24/2010	11:58	13:01	1060.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS02	SW-20100824-FER8-13	6,7	2	SW	N	C	8/24/2010	11:58	13:01	1060.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling
08-23-2010_Ferrel	BP-TN15-SS02	SW-20100824-FER8-14	9,10	1	SW	N	C	8/24/2010	11:58	13:05	950.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS02	SW-20100824-FER8-15	10,11	2	SW	N	C	8/24/2010	11:58	13:05	950.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling
08-23-2010_Ferrel	BP-TN15-SS03	SW-20100824-FER8-16	99	1	SW	N	G	8/24/2010		16:04	0.5	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS03	SW-20100824-FER8-17	1,2	1	SW	N	C	8/24/2010	15:04	16:15	1200.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS03	SW-20100824-FER8-18	2,3	2	SW	N	C	8/24/2010	15:04	16:15	1200.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling
08-23-2010_Ferrel	BP-TN15-SS03	SW-20100824-FER8-19	4,5	1	SW	N	C	8/24/2010	15:04	16:21	1075.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS03	SW-20100824-FER8-20	5,6	2	SW	N	C	8/24/2010	15:04	16:21	1075.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling
08-23-2010_Ferrel	BP-TN15-SS03	SW-20100824-FER8-21	8,10	1	SW	N	C	8/24/2010	15:04	16:26	950.0	None					No	No	No	Yes	No	non-NRDA	Corey Weiand, Ray Pelling	For LBNL. AODC, Nutrients, PLFA, RNA, DNA, SIP.
08-23-2010_Ferrel	BP-TN15-SS03	SW-20100824-FER8-22	10,11	2	SW	N	C	8/24/2010	15:04	16:26	950.0	None					No	No	Yes	Yes	No	non-NRDA	Corey Weiand, Ray Pelling

## Samples_Field_Descriptions
Field Name	Required?	Description	Formatting Requirements
CruiseID	Yes	Unique identifier for the at-sea operating period. / (e.g., 05-23-10_Brooks McCall)	<Cruise Start Date>_<Vessel Name>
StationID	Yes	Unique identifier of the location at which samples are collected and measurements are made. / (e.g. BM016).	<Vessels Initials><3-digit always increasing sequential number, representing the sampling station >
SampleID	Yes	Unique identifier for the sample. / (Ex: SW-06082010-BM008-01)	<SampleMatrix> - <SampleDate> - <StationID> - <sequential number advanced for each sample collected on a given day>
BottleNumber	No	2-digit number for the Niskin/Go-Flo bottle that the sample is drawn from (e.g., 14). As the depth increases, the bottle number decreases. For the surface sample, use 99.	Numeric (2-digit)
SubsampleID	Yes	2 digit number for the subsample within the Niskin/Go-Flo bottle. Start with 1 for the first sample drawn from the bottle and increase	Numeric (2-digit)
SampleMatrix	Yes	Matrix of the sample that is collected.	Valid Values (corresponding descriptions) / SO (Source Oil / Fresh Oil) / SW (Sea Water).
SampleType	Yes	The type of sample that is being collected.	Valid Values (corresponding descriptions): / N (Normal Field Sample) / EB (Equipment Blank) / FB (Field Blank) / FD (Field Duplicate) / MS (Matrix Spike) / MSD (Matrix Spike Duplicate) / TB (Trip Blank)
CollectionMethod	Yes	The general method used to collect the sample.	Valid Values (corresponding descriptions): / C (Composite) / G (Grab)
SampleDate	Yes	Date that the sample collected.	MM/DD/YYYY
TimeDeployed	Yes	Time when the Niskin/Go-Flo rosette sampler is deployed from the ship. The time needs to come from the CDT Bottle (.BTD) file and be GMT.	HH:MM
TimeCollected	Yes	Time when the Niskin/Go-Flo bottle fires and the water sample is collected. The time needs to come from the CDT Bottle (.BTD) file and be GMT.	HH:MM
SampleDepth	Yes	Depth, in meters, at which the Niskin/Go-Flo bottle triggered, based on the CTD measurements.	Numeric
SampleSheen	Yes	Indication of the level of sheen that was observed by the sampling crew on the surface of the Niskin/Go-Flo bottle.	Valid Values: None, Slight, Heavy
DO_LaMotte	no	Value for Dissolved Oxygen, in mg/L, of the sample as measured by a ship-board LaMotte 5860 Colormetric Dissolved Oxygen test kit.	Numeric
DO_Probe	no	Value for Dissolved Oxygen, in mg/L, of the sample as measured by a ship-board Handheld Probe.	Numeric
DO_Winkler	no	Value for Dissolved Oxygen, in mg/L, of the sample as measured by by a Winkler titration.	Numeric
DO_Optical	no	Value for Dissolved Oxygen, in mg/L, of the sample as measured by a ship-board aptical Probe.	Numeric
LISST	Yes	Indication whether or not related samples were collected for LISST analysis.	Valid Values: Yes or No
TOX_8oz	Yes	Indication whether or not related samples were collected for Rototox analysis	Valid Values: Yes or No
TPH_1L	Yes	Indication whether or not related samples were collected for Total Polycyclic Aromatic Hydrocarbon analysis.	Valid Values: Yes or No
VOA_40ml	Yes	Indication whether or not related samples were collected for Volatile Organics analysis.	Valid Values: Yes or No
GC_MS	Yes	Indication whether or not related samples were analyzed with onboard gas chromatograph - mass spectrometer	Valid Values: Yes or No
SampleTeam	Yes	Group, agency or organization that collected samples.	Valid Values: NRDA, non-NRDA
Sampler	No	Name of the individual who collected the sample.	Free Text
SampleComments	no	Comments on sample that was collected	Free Text

## YSI_Probe_Data
CruiseID	StationID	SampleDate	TimeDeployed	TimeCollected	SampleDepth	BottleNumber	Temperature	Barometric	DO%Saturation	DO	Comments
08-23-2010_Ferrel	BP-TN15-SS01	8/24/2010	8:55	10:03	850	9	8.2	758.6	59.8	5.62
08-23-2010_Ferrel	BP-TN15-SS01	8/24/2010	8:55	9:59	975	6	7.9	758.6	63.0	5.97
08-23-2010_Ferrel	BP-TN15-SS01	8/24/2010	8:55	9:55	1075	4	7.1	758.6	64.0	6.18
08-23-2010_Ferrel	BP-TN15-SS01	8/24/2010	8:55	9:50	1200	1	7.3	758.5	68.9	6.60
08-23-2010_Ferrel	BP-TN15-SS02	8/24/2010	11:58	12:54	1200	1	6.7	758.0	67.5	6.58
08-23-2010_Ferrel	BP-TN15-SS02	8/24/2010	11:58	13:01	1060	5	6.5	758.0	63.6	6.20
08-23-2010_Ferrel	BP-TN15-SS02	8/24/2010	11:58	13:05	950	9	7.0	758.0	62.9	6.06
08-23-2010_Ferrel	BP-TN15-SS03	8/24/2010	15:04	16:15	1200	1	6.2	757.4	67.8	6.68
08-23-2010_Ferrel	BP-TN15-SS03	8/24/2010	15:04	16:21	1075	4	6.6	757.4	64.5	6.29
08-23-2010_Ferrel	BP-TN15-SS03	8/24/2010	15:04	16:26	950	8	7.3	757.5	63.5	6.01