## Slide 1
Figure 1. Dissolved oxygen measurements compared by instrument. CTD readings taken at underwater at actual temperature and depth. ProODO readings taken on deck in Nisken bottles immediately upon rosette recovery. DO200 readings taken from sampled water in wet lab approximately one hour after recovery.
Chart: OV124
| 6.8199999999999994 | 7.49 | 4.01 | 5.42 | 5.68 | 5.73 | 5.37 | 6.9700000000000006
CTD | 3 | 50 | 400 | 700 | 960 | 1120 | 1210 | 1484
ProODO - On Deck | 3 | 50 | 400 | 700 | 960 | 1120 | 1210 | 1484
Chart: OV125
| 6.78 | 7.52 | 3.94 | 4.4300000000000006 | 5.7 | 5.7700000000000005 | 6.73
CTD | 3 | 50 | 400 | 700 | 1075 | 1140 | 1200 | 1400
DO200 - Wet Lab | 3 | 50 | 400 | 700 | 1075 | 1140 | 1200 | 1400
ProODO - On Deck | 3 | 50 | 400 | 700 | 1075 | 1140 | 1200 | 1400
Chart: OV126
| 6.73 | 7.45 | 3.9699999999999998 | 4.9000000000000004 | 5.72 | 5.54 | 5.56 | 6.74
CTD | 3 | 50 | 600 | 800 | 1000 | 1125 | 1210 | 1400
DO200 - Wet Lab | 3 | 50 | 600 | 800 | 1000 | 1125 | 1210 | 1400
ProODO - On Deck | 3 | 50 | 600 | 800 | 1000 | 1125 | 1210 | 1400
Chart: OV127
| 7.35 | 5.17 | 3.9 | 4.72 | 5.87 | 6.64 | 6.96
CTD | 3 | 50 | 200 | 500 | 775 | 1170 | 1300 | 1550
DO200 - Wet Lab | 3 | 50 | 200 | 500 | 775 | 1170 | 1300 | 1550
ProODO - On Deck | 3 | 50 | 200 | 500 | 775 | 1170 | 1300 | 1550

## Slide 2
Chart: Correlation of DO Instruments
| 6.78 | 7.52 | 3.94 | 4.4300000000000006 | 5.7 | 5.7700000000000005 | 6.73
OV125 | 5.95 | 7.06 | 4.21 | 4.7 | 5.71 | 5.65 | 5.98 | 6.88
OV126 | 5.95 | 6.95 | 4.18 | 4.9 | 5.95 | 5.58 | 5.79 | 6.73
OV127 | 5.96 | 6.87 | 5.15 | 4.15 | 4.99 | 5.98 | 6.49 | 6.94