Site Equipment Failure Report (SEFR)

1. One report per instrument.
2. Complete heading information.
3. Description of Fault: Enter a description of the fault. Be very descriptive and detailed. Note lights, voltages, resistances, test results, data, etc
4. Trouble Shooting Undertaken: Enter any trouble shooting undertaken. Please note, if an instrument has been disassembled for troubleshooting or repair.
5. Suggestions: Enter any suggestions for making the instrument perform better offshore.
6. EFR No.: This is for the Tech Shop to enter. Do not enter a number.
7. Attach the completed Report to the faulty equipment. Use the plastic sleeve to protect the paper.
8. Attach a Red Faulty Tag to the faulty equipment.
9. The Red tag should include the Technicians name, date, and brief description of the fault.
10. If possible, a copy of the SEFR should be included with all paperwork turned in at the debrief with the Project Manager.
11. A digital copy of the SEFR is located on the site laptops.

SEFR Contents:

  1. Blank SEFR forms
Red Faulty Tags
4	Sheets Protectors