Dissolved oxygen measurements taken by the CTD and the ProODO field probe on 09/02/2010 trend together following a similar dissolved oxygen curve through the water profile. CTD readings were taken underwater at actual temperature and depth. ProODO Field Probe readings were taken on deck in Nisken bottles immediately upon rosette recovery. OV221 and OV222 exhibited some data points that matched closely between the CTD and field probe, while for other data points there were large discrepancies. For OV223 and OV224 the CTD and field probe gave very similar DO readings. No sheen was found in any of the Nisken bottles at any of the sampled depths.