# Background:

The NOAA Ship Thomas Jefferson is operated by NOAA as a hydrographic survey ship. She is homeported in Norfolk, VA, and carries a complement of 36 crew and scientists. Most of the scientific staff is permanently assigned to the ship. For this project, several experts were invited to join the ship to provide critical support to this inter-disciplinary mission.
In addition, the ship enhanced its capabilities by adding additional sonars, a water sampling and deep cast system, and adding an additional sensor to the Moving Vessel Profiler.

## Objectives:

1. Establish a methodology for detection of submerged oil with sonar and in situ measurements.
2. Study the movement and structure of submerged oil in the vicinity of the wellhead.
3. Conduct baseline transects from 100m to 1200m isobaths west of the spill site.

## Scientific Staff:

The following team led the scientific program of this project and jointly authored this report

- CDR Shepard Smith, Commanding Officer, Chief Scientist
- Dr. Larry Mayer, Director, UNH/CCOM, data integration, visualization, adaptive mission planning
- Dr. Alex De Robertis, NMFS/AFSC, bioacoustics, data processing, custom scripting
- LT Mike Davidson, Operations Officer, TJ
- Dan Torres and Brian Guest, Research Associates, WHOI, CTD Operations
- CST Dan Wright, Chief Survey Tech, TJ
- Jennifer Cragan, NRDA/NOAA, chemist
- Mark Stead, EPA, Chain of Custody
- LT Mark Blankenship, CTD Operations
- ENS Jasmine Cousins, water sampling

## Capabilities for Water Column Mapping

1. Fisheries Echosounders-12 kHz, 38 kHz, and 200 kHz-these sounders have a wide dynamic range ideal for detection of scattering in the water column.
2. Moving Vessel Profiler with a multi-sensor freefall fish and a Turner crude oil fluorometer. This device can deploy a sensor to make in-situ measurements to a depth up to 200m while the ship is underway.
3. Standard oceanographic CTD with water sampling rosette. The instrument is equipped with a CTD, Dissolved Oxygen, a CDOM fluorometer, a Turner crude oil fluorometer, and a turbidity sensor. The rosette contains 12 teflon-lined bottles. The winch has enough cable to cast to 1200m.

## Daily Chronology

June 3-Departed New Orleans 0600, transited down the Mississippi. Installed the new multi-sensor freefall fish and Turner crude oil sensor on the Moving Vessel Profiler. Tested the MVP off SW pass, verified data was received and logged and mechanical portion performed as expected. Conducted a shallow (20m) then a deep (600m) CTD cast to test winch, brakes, CTD and all sensors, and hone water sampling protocols. Began transit to spill site at 2200.

June 4-Tied into NOAA Ship Gordon Gunter data by repeating three transects in the vicinity of natural gas seeps and taking a CTD at a site Gunter reported high fluorescence at around 1100m. Echosounder records were considered comparable. Interestingly, TJ’s cast did not show a comparable fluorescence anomaly. Additional sonar work in the vicinity of GU “hot spots.” Requested permission from SIMOPS to enter 5 NM circle to increase the probability of finding higher concentrations of oil from which to derive a sonar signature. Permisson was denied. Last cast of the day (Cast TJ-07) showed a prominent anomaly at around 1100m with high CDOM and low DO. Recognition of pattern in sonar return hypothesized to be indicative of the anomalous water mass.

June 5-Additional sonar work outside 5 NM, looking for patterns consistent with previous observations. First cast of the day (TJ-08) showed a prominent anomaly at around 1100m. Bow thruster inoperable part of the day, making precise cast placement difficult. Transfer of water samples to shore via crew boat. Permission granted to enter to 3 NM. Perimeter sonar and MVP line at 3NM.

June 6-Block of transects conducted SW of wellhead. One CTD cast inside this area was negative. Similar acoustic signature not seen in this area. Returned to area of high fluorometer hits (TJ07, TJ08). Repeat cast in this area showed no anomaly. Took on water from crew boat. Zig-zag search pattern toward the SW, in the direction of the ADCP deep current. Faint acoustic anomaly detected along slope. CTD Cast 13 in this area showed traces of fluorescence and a distinct layer of low DO at depth. Departed area to transit inshore for 100m transect.

June 7-Begin 100m transect, first east to Mobile, then west to the Mississippi Delta. Casts conducted about 6 times per hour. Refined on board processing and visualization tools. Took one cast in an area of anomalous fluorescence at around 40m depth. High CDOM and low DO to match. MVP casts continue to west.

June 8-Decontaminate TJ hull, transfer samples ashore, exchange crew, press visit. Depart 1100 to begin baseline transects west. Additional MVP fluorescence anomalies noted. No time to investigate.

June 9-Baseline transects moving west. Calibrated the echosounders so absolute values can be compared between vessels and over time. Slip ring failed on CTD winch, last cast of transect skipped to stay on schedule and fix the slip ring while transiting.

June 10-Winch level wind failed on first cast of the day. Instrument recovered by manually moving the level wind. Cannot be repaired on board without appropriate parts. Remaining casts cancelled. Extra few hours spent finishing hydrographic surveys in fairways and approaches to Galveston.

June 11-Arrive in Galveston 1000
# Configuration and Collection Procedures
## Rolls Royce Naval Undersea Systems – Moving Vessel Profiler and Sensors

The Moving Vessel Profiler (MVP) is a self-contained profiling system capable of sampling water column profiles to 100m depth while operating at speeds up to 10kt . The MVP-100 was mounted at the transom port side of centerline. It consists of a computer-controlled high speed hydraulic winch, a cable metering, over-boarding and docking system, a conductor cable and a single sensor freefall fish (SSFFF) housing an Applied Microsystems “time of flight” SV&P Smart Sensor (see SV&P below) . The system as configured aboard the THOMAS JEFFERSON collects vertical profiles of sound velocity data while the ship is underway at survey speed. The unit is located on the fantail and controlled remotely from the ship’s acquisition room. On June 2, 2010, the SSFFF was removed from the MVP to accommodate a larger Multi-sensor freefall fish (MSFFF), which could house additional sensors necessary to conduct the mission.

### AML – Sound Velocity & Pressure Smart Sensor (SV&P)
 The SV&P Smart Sensor is the main instrument housed on the MVP free fall fish; it is designed to directly measure sound velocity and pressure in water. The sensor has internal calibration coefficients and outputs real-time data to allow a “plug and play” environment.
The Applied Microsystems Smart SV&P Sensor was calibrated by the manufacturer during the 2009-2010 winter import. The sensor used for S-K919-TJ-10 was maintained as a spare for the unit installed on the SSFFF. Upon receipt of the MSFFF, the spare AML SV&P sensor was installed to provide the depth below surface measurement necessary for the system to deploy and recover safely.

### Turner Designs Cyclops7 Crude Oil Sensor
Thomas Jefferson was outfitted with a multi-sensor free-fall fish (MSFFF) for the MVP during this project. The new MSFFF replaced the single sensor freefall fish (SSFFF) previously in use to provide sound speed profiles for hydrographic surveying. The MSFFF was specifically outfitted with a Turner Designs Cyclops7 Crude Oil Sensor (Cyclops7) for the Deepwater Horizon project. The Cyclops7 emits an ultraviolet light that excites fluorescent matter in the water. The Cyclops7’s optical sensor is specifically tuned to detect the fluorescent signature of crude oil (Polycyclic Aromatic Hydrocarbons (PAH) are the primary contributors to the fluorescent signature). As the fluorescent light enters the optical sensor, it passes through a specialized band pass emission filter that filters out wavelengths not associated with the crude oil signature. The light that does make it through the filters is registered as a voltage by the instrument. The higher concentrations of hydrocarbons generate higher voltages. The voltage is output in ASCII format. The response time of the Cyclops7 is 300 microseconds. (Turner Designs, 2010)

Figure Turner Cyclops 7 Fluorometer
### Data Acquisition Methods
Prior to mounting the Cyclops7 into the MSFFF, a QA control was conducted using Quinine in a 0.5 molar H2SO4 solution. Two Cyclops7 sensors were checked against the control solution to verify proper function. Once QA checks were complete, The Cyclops7 was mounted in the nose of the MSFF. The MSFFF was deployed from the MVP to a depth of 100m while underway at speeds of about 9kts. MVP casts were initiated every 15 minutes and the data was written in ASCII file format with metadata including: data/time in GMT, position, bottom depth, and vessel speed. The ASCII files generated for each cast were logged directly to the ships network. Data was logged on the down cast and the up cast, but the up cast data is considered to be a better representation sample due to higher data density as a result of the slower rate of recovery vs. freefall deployment.

### MVP data acquisition and processing

The Moving Vessel Profiler (MVP) was used to acquire sound speed and fluorescence samples at approximately 10-15 minute intervals while the ship was underway. A typical “cast” or deployment extended to 100m depth and recorded approximately 3500 samples.

Figure Data collected offshore in area of low fluorescence

### Downcast vs Upcast
Due to the operational characteristics of the MVP free fall fish, approximately 10X the data samples are acquired during the retrieval portion of the cast cycle. This provides a more robust result, and data collected in the freefall mode was not incorporated in this analysis.

### Position approximation
The position of the MVP is recorded on deployment, which represents an almost vertical decent to the designated braking depth. During The retrieval portion of the cast, the forward movement of the ship is not incorporated into the cast position. On casts to 100m depth, retrieval may take 6-7 minutes, such that the data on retrieval will be collected over approximately 1NM at typical survey speeds of 9-10kts.

### Data Processing
Initial data processing was performed using Excel to plot consecutive casts, and to look for significant anomalies between casts or groups of casts. Data processing was further refined by the scripting of a matlab program which extracted relevant position, depth and fluorescence data. The raw data were averaged into 1m bins for each cast and plotted, showing the raw, mean and max data points. In order to detect anomalies, each retrieval was summarized as the maximum value observed at < 20m, and >20m, as fluorescence records were often high at the surface and a subsurface peak was often observed.

## MVP Anomalies

While there is interesting structure evident in the fluorometer data in various places along the 100m transect, there are four areas in particular that we wish to highlight for further work. In all the figures, the cylinders in the 3D scene are scaled and colored by maximum fluorescence deeper than 20m. There is a similar analysis available for the top 20m.

### Area 1-South of Mobile Bay

Figure Orange cylinder to the east corresponds to the cast below.

Figure Fluorescence anomaly at 40-60m depth
### Area 2-CTD Comparison

One example of a fluorescence anomaly in the MVP that was collocated with a CTD Cast (TJ 14) with water samples. Sample locations noted by the horizontal lines on the CTD graph. The fluorescence anomaly corresponds to low dissolved oxygen.

Figure CTD cast in comparison area

Figure MVP Crude Oil Fluorescence

Figure Location of comparison casts

Area 3 –Southwest Pass
The pink cast in the map corresponds to the cast below, which shows a marked peak in the fluorescence at about 20m depth.

Figure Location of anomaly off SW pass

Figure Fluorescence anomaly near SW pass
Area 4-Furthest West Anomaly
The cast below corresponds to the eastern of the two red casts. This represents the furthest west anomaly observed, due south of the western end of Terrebone Bay.

Figure Westernmost Anomaly

Figure Fluorescence of westernmost anomaly

# Appendix 1- Software

### Visualization:
Fledermaus Professional 7.2.0 build 347

### MVP:
Mvp V 2.351
Matlab R2007B (mvp data processing)

### CTD:
Seabird Electronics software suite
Seasave V7
SBEDataProcessing-win32 (processing)

### Singlebeam:
Simrad ES60 1.5.2.77 (acquisition)
Fledermaus Midwater 7.20 build 352 (processing)
Echo view 4.90 (processing)

# Appendix 2- Water Sampling Procedures

The following procedures were developed for crew of the NOAA Ship THOMAS JEFFERSON (S222) operating within the Deepwater Horizon spill site.

### Sampling Background
The NOAA Ship THOMAS JEFFERSON was outfitted with a twelve Niskin bottle water sampling package. Sampling objectives included: (1) determining the concentration of oil compounds in the water column, (2) determining the source via fingerprinting, the degree of weathering, and background levels, (3) documenting exposure of water-column organisms and validating toxicity models, and (4) maintaining the integrity of the samples during sampling, transport and storage. Two independent sample analyses were collected from each Niskin bottle: (1) Volatile Aromatic Hydrocarbons (VAH/VOA/VOC/BTEX) analyzed by SIM GC/MS were collected in duplicate 40 mL preacidified, custody sealed vials and (2) Total Hydrocarbon (THC) by GC/FID were collected 1 in L amber bottles. All analysis of samples will be conducted at the established NRDA lab upon receipt of the shipped samples.

### Sampling Equipment/Containers
VAH samples were collected, wearing clean Nitrile gloves, by pouring directly from the collection device’s bottle spout. The spout was depressed and observed for leaks prior to filling the HCl preserved 40 mL septum-capped vials. The collector ensured that there was no headspace (i.e., bubbles) in the vial. THC samples were collected in glass, certified-clean to organic free, solvent rinsed amber 1 L containers. Water samples for THC samples were taken after VAH duplicate samples. Care was taken to leave one inch of headspace for all THC samples.

### Sample Collection Method
Prior to each cast, Niskin bottles were decontaminated. Bottles were washed with fresh water, soaked with a Dawn/fresh water solution, rinsed with fresh water, rinsed with deionized water, and then soaked with deionized water for a minimum of ten minutes. A blank was drawn from the soaked DI water prior to deployment of the rosette. Stations were either predetermined or were a result of “interesting” data from other monitoring equipment. For each station, samples were drawn from “near surface” (approximately 1 m below the surface), and “near bottom” (approximately 5 m of the bottom). In situ monitoring helped to determine other depths of interest. Niskin bottles were lowered through the water column to depth in the open position and tripped closed upon reaching the desired depth on the trip back to surface. Surface slicks were cleared by propulsion from shots ahead on the engine to aid in minimizing contamination. Documentation was made of any presence of slicks, weather, wave conditions, etc., which might suggest mixing of oil during sampling. Other sources of contamination were recorded as well (exhaust fumes, rain, oily surfaces). Clean substrates were utilized for work and care was taken to segregate dirty and clean areas and replace materials frequently to avoid cross contamination.

### Sample Storage and Transport Method
VAH vials were grouped, placed in a Ziploc bag, secured by bubble wrap and stored at 4⁰C. THC bottles were sealed with silicon tape, Zip locked, secured by bubble wrap and stored at 4⁰C. Refrigerator temperatures were monitored throughout the day to ensure a steady and stable temperature. Each refrigerator had two thermometers for monitoring purposes.
Samples were packed on blue ice in large coolers just prior to chain of custody pick-up. Contents in each cooler were inventoried and documented. The coolers were sealed by the authorized custody party. Chain of custody was signed over during pick-up, and all associated paperwork and logs accompanied the samples.

# Appendix 2 Decontamination Procedures

The following procedures were developed for crew of the NOAA Ship THOMAS JEFFERSON (S222) operating within the Deepwater Horizon spill site.

Site Control was established on the fantail of the vessel to contain contamination to areas around operating equipment and minimize unnecessary tracking and exposure. Markings on the deck identified authorized work space restricting movement beyond the allowable area.

Deck operations were isolated to two outside spaces of the fantail (MVP and CTD deployment and recovery) accessed via one entry and exit location.

Only essential, trained personnel in proper PPE were allowed in the operating space

1. Operations existed in three regions:
  1. Region One: Area of working gear and exposure to elements

  1. Region Two: Decontamination station

    1. Hazmat gear pick up (outside staging):
      1. Gloves
      2. Rain pants
    2. Oily waste bin for disposable soiled diapers, gloves, gear, etc.
    3. Wash bin and scrubber for soiled boots, rain pants, gear etc.
    4. Rinse bin for immediate use following wash
    5. Hanging station for drying washed/rinsed pants, gear etc. with diapers underneath to catch any run-off
    6. Pressure washer available for aiding in wash down of gear

  1. Region Three: Final Decontamination station (inside passageway)

    1. Bin lined with diapers for indoor drying and storage of washed/rinsed boots, gear, etc.

1. Equipment Operations:
  1. Deployment of all equipment was timed such that surface water was clear of any oil. This was achieved by using a shot ahead on the engine to mix the surface water while simultaneously squirting Dawn soap to break up surface oil.
  2. Instruments were recovered through a constant fog spray from the sea water fire hose ensuring that the wires were brought up through oil free surface water. As the instruments neared the surface a shot ahead on the engine cleared more of the surface water.

  1. Once retrieved on deck, all instruments were decontaminated using soapy fresh water wash downs. The CTD bottles were washed down with fresh water and then filled with a fresh water Dawn soap mixture and allowed to soak until the next CTD. The bottles were drained prior to the next cast, rinsed with fresh water, and a blank water sample obtained from a deionized water procedure.

At the end of each day Region One was pressure washed minimizing the retention of liquid contaminants